|  | Biomedical Limited, No. 1 Ohimege Road, Industrial Estate, Ilorin, Kwara State, PMB 1449 | Doc. No.: BML/QDG/QA/039/F01 |
| --- | --- | --- |
|  | QUALITY ASSURANCE DEPARTMENT EQUIPMENT CALIBRATION LOG GLASS-APPARATUS | Version No.: 02 |

CALIBRATION OF GLASS APPRATUS

| Name of Glassware: | Specified Capacity: | Date of Calibration |
| --- | --- | --- |
| Class: | Identification No. | Bal ID No.: |

Density of Water (C):

| Weight of empty density bottle in gm (P) | Density of the bottle + water in Gram (Q) | Weight of water in gram (Q-P) | Density (C) = (Q-P) Volume in ml |
| --- | --- | --- | --- |

Observation

| Glassware ID No. | Weight of empty glassware in gm=(A) | (A) + distilled water + (B) | Actual weight of distilled water = (B-A) | Volume in ml=(B-A) C | Average Volume = (V) | Observed tolerance = (V) – specified capacity | Tolerance Limit | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

________________________________

Q.C Head

Sign /Date

EQUIPMENT CALIBRATION LOG BOOK

| Equipment Name: | GLASS-APPARATUS |
| --- | --- |
| Equipment ID: |  |
| Location: | CHEMICAL |
| Model: |  |
| Manufacturer’s Name: |  |
| Issued By | QA DOCUMENTATION UNIT |

BIOMEDICAL LTD.

BIOMEDICAL LIMITED, NO 1 OHIMEGE ROAD, INDUSTRIAL ESTATE, ILORIN KWARA STATE, PMB 1449

QUALITY CONTROL

[CHEMICAL LAB]

CALIBRATION LOGBOOK FOR GLASS-APPARATUS

LGB/QDG/QA/039

VOL. 02