List of Major Quality Control/Quality Assurance Equipment (INFUSION)

| Equipment | Make | Model | Identification code |
| --- | --- | --- | --- |
| UV Spectrophotometer | Equiptronics India | 752N | BL/EQ/QAE/001 |
| Auto Polarimeter 1 | Equiptronics India | EQ 805 | BL/ EQ /QAE/002 |
| Analogue Polarimeter 2 | Equiptronics India | EQ 801 | BL/ EQ/QAE/003 |
| Flame Photometer | Equiptronics India | EQ 855A | BL/ EQ /QAE/004 |
| ANALYTIC Analytical weighing balance | OhausOhaus Corporation, USA | AR1530 | BL/ EQ /QAE/005 |
| Viscometer | Viscolead,china | NDJ-5S | BL/ EQ /QAE/006 |
| Digital pH meter | Hanna Instruments Italy | 211 | BL/ EQ /QAE/007 |
| Digital Conductivity meter | Jenway, England | DDS -307 | BL/ EQ /QAE/008 |
| Hand Held Conductivity Meter | Exact Instrument, China | CT -3033 | BL/ EQ /QAE/009 |
| Hand Held pH Meter | Hanna intrumemts,China | PH211 | BL/ EQ /QAE/010 |
| Melting Point Apparatus | Beamex,UK | TC303 | BL/ EQ /QAE/011 |
| Water bath | Surgi Medicals, England | XMTD-8222 | BL/ EQ /QAE/012 |
| Fume cupboard | Labtrade ,Nigeria | BIDI | BL/ EQ /QAE/013 |
| Air borne Particle Counter | Hauda Instrument and Equipment, China | BCJ-1 | BL/ EQ /QAE/014 |
| # Magnetic Stirrer Hot Plate | Stuant Scientific , UK | SWAT 05 | BL/ EQ /QAE/015 |
| # Hot plate | N Konga, Nigeria | QCP/200A | BL/ EQ /QAE/016 |
| # Oven 1 | Vismaram U.K | V1902/STWA6A | BL/ EQ /QAE/017 |
| # Oven 2 | Source U.KKotterman U.K | 2711 | BL/ EQ /QAE/018 |
| Incubator 1 | Eschmed Medical,, England | DNP-9052A | BL/ EQ /QAE/019 |
| Incubatorii Incubator 2 | GyftyfduytGulfex Medical and scientific , England | DNP-9082 | BL/ EQ /QAE/020 |
| Incubator 3 | Medfield Equipment, England | DNP-9052-1 | BL/ EQ /QAE/021 |
| Incubator 4 | KottermanKotterman Incubator, Germany | 2735 | BL/ EQ /QAE/022 |
| Potable bucket autoclave 1 | Optec Lab., China | XYXQ280 S.D | BL/ EQ /QAE/023 |
| Potable bucket autoclave 2 | Optec Lab. Optec Lab., China |  | BL/ EQ /QAE/024 |
| Air differential meter | Honri Air clean Tech, China | DNNP02 | BL/ EQ /QAE/025 |
| Lllllllllllllllllll Lamina Air Flow Machine | Medfield E Medfield Equipment, England | SCW-CJ-IF | BL/ EQ /QAE/026 |
| Sampling booth | Honri Air clean Tech, China | AER-SOT005 | BL/ EQ /QAE/027 |
| # Refrigerator | # Haier thermocool, Nigeria | # HR-142W | BL/ EQ /QAE/028 |
| # Microscope Olympus 1 | # Olympus optical ,Japan | # CHC | BL/ EQ /QAE/029 |
| # Microscope 2 | # Optec Lab., China | # XSZ – 107BN | BL/ EQ /QAE/030 |
| # Filter Integrity Test Apparatus | # Houshiji, China | # D.O CHROM | BL/ EQ /QAE/031 |
| # Digital Scale (500g) | # Exact Instrument, China | # HS-502N | BL/ EQ /QAE/032 |
| # Heating Block | # Houshiji, China | # TAL-M2 | BL/ EQ /QAE/033 |
| # Incubator 5 | # Medfield Equipment, England | # JTD-2000 | BL/ EQ /QAE/034 |
| # Incubator 6 | # England | # CANFA | BL/ EQ /QAE/035 |
| # Active Air sampler | # China | # FKC-1 Wit201901191120 | BL/ EQ /QAE/036 |
| # Stability chamber | # China | # FG-1500 | BL/ EQ /QAE/037 |
| # Fogging machine | # China | # WD-008 | BL/ EQ /QAE/038 |
| # Air Shower | # China | # NA | BL/ EQ /QAE/039 |
| # Magnehelic gauge | # Exact Instrument, China | # MTC 001 | BL/ EQ /QAE/040 |

List of Major Quality Control/Quality Assurance Equipment (SYRUP)

| Equipment | Make | Model | Identification code |
| --- | --- | --- | --- |
| UV Spectrophotometer | Searchtech Instrument , UK | 752N | BML/QAE/SYP/001 |
| Moisture Content Analyser | Ohaus, China | MB120 | BML/QAE/SYP/002 |
| Bucket Autoclave | Optec Lab., China | WT280A | BML/QAE/SYP/003 |
| Analytical weighing balance | S. Mettler, UK | 18011003 | BML/QAE/SYP/004 |
| Viscometer | Viscolead,china | NDJ-5S | BML/QAE/SYP/005 |
| Digital pH meter | Hanna Instruments, China | PHS-3C | BML/QAE/SYP/006 |
| Hand Held pH Meter | Hanna Instruments, China | 211 | BML/QAE/SYP/007 |
| Digital Conductivity meter | Jenway, England | DDS -307 | BML/QAE/SYP/008 |
| Hand Held Conductivity Meter | Exact Instrument , China | CT-3033 | BML/QAE/SYP/009 |
| Heating mantle | Searchtech Instrument , UK | VC006 | BML/QAE/SYP/010 |
| Melting Point Apparatus | Beamex,UK | TC303 | BML/QAE/SYP/011 |
| Water bath | Bright Medicals, England | XMTD-8222 | BML/QAE/SYP/012 |
| Fume cupboard | LABTRAD LABTRADE, Nigeria | BIDI | BML/QAE/SYP/013 |
| Photoelectrical colorimeter | Labtech ,China | LT-01 | BML/QAE/SYP/014 |
| # Magnetic Stirrer Hot Plate | Labtech ,China | 78hw-1 05 | BML/QAE/SYP/015 |
| # Drying Oven 1 | N Medfield Equipment England | DHG-9030A | BML/QAE/SYP/016 |
| # Drying Oven 2 | Medfield Equipment England | DHG-9030A | BML/QAE/SYP/017 |
| Incubator 1 | N Medfield Equipment England | DNP-9052-1 | BML/QAE/SYP/018 |
| Incubatorii Incubator 2 | Medfield Equipment England | DNP-9022-1A | BML/QAE/SYP/019 |
| LAMINAL A Lamina Air Flow Machine | Medifiel Medfield Equipment | SCW-CJ-IF | BML/QAE/SYP/020 |
| Refrigerator 1 | Hisense , Nigeria | 160PR | BML/QAE/SYP/021 |
| Refrigerator 2 | Hisense , Nigeria | 160PR | BML/QAE/SYP/022 |
| Binocular Microscope | Optical Japan | CHC | BML/QAE/SYP/023 |
| Filter integrity Test Apparatus | Houshiji, China | D.O CHROM | BML/QAE/SYP/024 |
| Colony counter | Ohaus, China | QR-005 | BML/QAE/SYP/025 |
| # Electronic weighing balance {500g} | # St. Mettler, UK | # HS-502N | BML/QAE/SYP/026 |
| # Raw material sampler | # Sedol Nig. Ltd, Nigeria | # NA | BML/QAE/SYP/027 |
| # HPLC {High performance Liquid Chromatography | # ECOM Instrument | # 200DH | BML/QAE/SYP/028 |
| # Stability chamber | # RISHABH, India | # RISHmulti20 | BML/QAE/SYP/029 |
| # Sampling booth | # Aeromech, India | # RLAF 1203 SS | BML/QAE/SYP/030 |

Water Treatment Unit

| Equipment | Make | Identification code |
| --- | --- | --- |
| # Sand Filter | # Global Sterling India | # BL/EQ /WTR/001 |
| # Activated Carbon Filter | # Global Sterling India | # BL/ EQ /WTR/002 |
| # Water Pump 4.5HP | # Italy | # BL/ EQ /WTR/003 |
| # Water Pump 3.5HP | # Spain | # BL/ EQ /WTR/004 |
| # Water Pump2.5HP | # China | # BL/ EQ /WTR/005 |
| Demineralization Plant | Global Sterling India | # BL/ EQ /WTR/006 |
| Reverse Osmosis Machine (RO1) | Global Sterling India | # BL/ EQ /WTR/007 |
| Reverse Osmosis Machine (RO2) | RO Tech, India | # BL/ EQ /WTR/008 |
| Multi Column Distillation Plant 1 | Pharmalab, India | BL/EQ/WTR/009 |
| Multicolumn Distillation plant 2 | Pharmalab, India | BL/EQ/WTR/010 |
| WFI stainless Tank | Global Sterling India | BL/EQ/WTR/011 |

List of Major Engineering/Maintenance Equipment:

| Equipment | Make | Identification Code |
| --- | --- | --- |
| Cleaver Brooks Boiler (5Tons) | USA | BL/EQ/TECH/001 |
| Cleaver Brooks Boiler (2Tons) | USA | BL/ EQ /TECH/002 |
| Fluton Boiler 0.9 ton | UK | BL/ EQ /TECH/003 |
| Air Compressor | UK | BL/ EQ /TECH/004 |
| 132 KV Generator | UK | BL/ EQ /TECH/005 |
| # 350 KV Generator | USA | BL/ EQ /TECH/006 |
| # 450 KV Generator | UK | BL/ EQ /TECH/007 |
| # Transfer pump 5.5 KW | UK | BL/ EQ /TECH/008 |
| # Transfer pump 5.5 KW | China | BL/ EQ /TECH/009 |
| # Cooling Tower 250 Tons | India | BL/ EQ /TECH/010 |

# List of Major Production Equipment

| Equipment | Make | Identification code |
| --- | --- | --- |
| Digital Weighing Scale 15kg | China | BL/SPR/PE/001 |
| Weighing Balance 50kg | China | BL/SPR/PE/002 |
| Weighing Weighing Balance 150kg | China Chin China | BL/SPR/PE/003 |
| Mixing Tank (2, 000 Litres) | UK | BL/SPR/PE/007-1 |
| Mixing Tank ( 2, 000 Litres) | UK | BL/SPR/PE/007-2 |
| Mixing Tank ( 2,000 Litres) | UK | BL/SPR/PE/007-3 |
| Semi-Automatic Filling Machine 1 | China | BL/FR/PE/001 |
| Semi-Auto Semi-Automatic Filling Machine 2 | China ChinaChina | BL/FR/PE/002 |
| Semi-Auto Semi-Automatic Filling Machine 3 | China ChinaChina | BL/FR/PE/003 |
| Semi-Auto Semi-Automatic Filling Machine 4 | China ChinaChina | BL/FR/PE/004 |
| Semi-Auto Semi-Automatic Filling Machine 5 | China ChinaChina | BL/FR/PE/005 |
| Semi-Automatic Filling Machine 6 | China | BL/FR/PE/006 |
| Semi-Auto Semi-Automatic Filling Machine 7 | China Chi China | BL/FR/PE/007 |
| Semi-Auto Semi-Automatic Filling Machine 8 | China Chin China | BL/FR/PE/008 |
| Semi-Auto Semi-Automatic Filling Machine 9 | China Chin China | BL/FR/PE/009 |
| Semi-Auto Semi-Automatic Filling Machine 10 | China Chin China | BL/FR/PE/0010 |
| Automatic Filling Machine | China | BL/FR/PE/006 |
| Batch coding Machine 1 | China | BL/BC/PE/001 |
| Batch codi Batch coding Machine 2 | China | BL/BC/PE/002 |
| Batch coding Machine 3 | China | BL/BC/PE/003 |
| Batch codi Batch coding Machine 4 | China Chin China | BL/BC/PE/004 |
| # Computer controlled sterilization machine # (De Lama Autoclave) | Italy | BL/AC/PM/001 |
| # Computer controlled sterilization machine # (Pharmalab Autoclave) | China | BL/AC/PM/002 |
| Pouch Transfer Box | China | BL/PTB/PE/001 |
| Pouch Transfer Box | China | BL/PTB/PE/002 |
| Pouch Transfer Box | China | BL/PTB/PE/003 |
| Pouch Transfer Box | China | BL/PTB/PE/004 |
| # Conveyor belt | China | BL/CB/PE/010 |
| # Shrink wrapping machine 1 | Indian | BL/SWM/PE/001 |
| # Shrink wrapping machine 2 | Indian | BL/SWM/PE/002 |
| # Leak testing Machine 1 | Indian | BL/LKM/PE/001 |
| # Leak testing Machine 1 | Indian | BL/LKM/PE/002 |
| # Sighting Board 1 | China | BL/SB/PE/001 |
| # Sighting Board 2 | China | BL/SB/PE/002 |
| # Air shower 1 | China | BL/AS/PE/001 |
| # Air shower 2 | China | BL/AS/PE/002 |
| # Air shower 3 | China | BL/AS/PE/003 |