| Raw Material Name: Calcium Chloride | Batch No: | Pharmacopeia Ref: BP 2023/IN-HOUSE |
| --- | --- | --- |
| Manufacturer: | Supplier: | Logbook/Revision Number |
| MF. Date: | EX. Date: | Logbook page No.: |
| Sampled By: | Qty Received: | Logbook Volume: |
| Product Code: RMA004 | No. of containers: | Analysed by: |
| QC. AR. No: | Test Completed Date: | SOP Ref. No: BML-QDG-QA-105 |

| S/No. | Test | Specifications | Results |
| --- | --- | --- | --- |
| 1 | Description | A White or almost white, crystalline powder, hygroscopic, freely soluble in water, soluble in ethanol (96 per cent). |  |
| 2 | Identification | Shall comply. It gives reaction of chlorides and calcium |  |
| 3 | Acidity/Alkalinity | If the solution is red, not more than 0.2 mL of 0.01 M hydrochloric acid is required to discharge the colour and if the solution is colourless, not more than 0.2 mL of 0.01 M sodium hydroxide is required to turn it red. |  |
| 4 | Sulphate | ≤300ppm |  |
| 5 | Aluminium | No turbidity or precipitate is formed. NMT 1.0ppm |  |
| 6 | Barium | Opalescence in the solution is not more intense than that in a mixture of 1 mL of distilled water R and 10 mL of solution S. |  |
| 7 | Iron | ≤10ppm |  |
| 8 | Heavy Metals | ≤2ppm |  |
| 9 | Assay | 97.0% - 103.0% of CaCl2, 2H2O. |  |
| 10 | Total Microbial Count Total yeast & moulds Pathogens | ≤10CFU/ml ≤10CFU/ml Nil. Must be Absent |  |
| 11 | Bacteria Endotoxin | ≤1.15OC (3 Rabbits sum response) ≤0.25EU/ml(LAL Test) |  |

CHECKER’s VERDICT (box option):  RELEASED   / FAILED / HOLD   / REPEAT

Remark: