| S.N | AUDIT FINDINGS (OBSERVATION) | ROOT CAUSE ANALYSIS | CORRECTIVE ACTION | INDICATORS FOR COMPLETION | TIMELINE | RESPONSIBILITY | CAPA STATUS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL |  |  |  |  |  |  |  |
| 1 | Although there’s an SOPs file in place but the sighted ones have no authorisation on it. |  |  |  |  |  |  |
| 2 | The organization chart/organogram sighted but devoid of authorization on the one presented. |  |  |  |  |  |  |
| 3 | Staff register did not follow the good documentation practices as most of the staff only ‘sing IN’ but did not ‘sign OUT’ |  |  |  |  |  |  |
| 4 | Documment retrieval is not too good as auditors waited a long time to see one. |  |  |  |  |  |  |
| 5 | Signature atlas is obsolete and not updated. |  |  |  |  |  |  |
| 6 | Individual staffs protective wear still poses a challenge as most of the personnel have only one instead of a pair for better hygiene as enumerated by the handler. |  |  |  |  |  |  |
| 7 | No records to show the collection of personal protective equipment by the personnel/staff. |  |  |  |  |  |  |
| 8 | Although there is a sign showing a muster point should any incident, but the signage needs to be in an obvious place and known to every staff in the facility. |  |  |  |  |  |  |
| 9 | Water leakage/dripping found in the men’s cloak room as at the time of this audit. |  |  |  |  |  |  |
| 10 | Few of PPE meant for cleaned room were found outside under the flowers which certainly pose a danger to the critical areas in the production floor. |  |  |  |  |  |  |
| 11 | Visitors’ toilet and entrance to production were seen devoid of good illumination. |  |  |  |  |  |  |
| Security |  |  |  |  |  |  |  |
| 1 | Security changing room seen to be jam-packed with irrelevant materials that should be ordinarily not there e.g. Phone charging, food plate etc. |  |  |  |  |  |  |
| 2 | Surroundings is seen not properly tidy up as engineering materials seen littering the area. |  |  |  |  |  |  |
| 3 | No standard written procedure for their operations. |  |  |  |  |  |  |
| Kitchen |  |  |  |  |  |  |  |
| 1 | Cooking utensils seen were not properly maintained as many of it is from fire to serve. No means of transferring it to serving bowls before dishing it out for staff. |  |  |  |  |  |  |
| 2 | Is the shelfs seen not properly clean and remove of dirt? |  |  |  |  |  |  |
| 3 | Contractors’ equipment’s seen around the kitchen environment. |  |  |  |  |  |  |
| Laundry |  |  |  |  |  |  |  |
| 1 | No standard written procedures for laundry in place. |  |  |  |  |  |  |
| 2 | No records for issuance and retrieval of dirt close in place after usage. |  |  |  |  |  |  |