| S.N |  | AUDIT FINDINGS (OBSERVATION) | ROOT CAUSE ANALYSIS | CORRECTIVE ACTION | INDICATORS FOR COMPLETION | TIMELINE | RESPONSIBILITY | CAPA STATUS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL |  |  |  |  |  |  |  |  |
| 1 | - Although there’s a SOPs file in place but the sighted ones have no signature of Master’s copy. - Although SOP for selection of workmen and staff were sighted during the inspection but there is no SOP for training program for new entrant. |  |  |  |  |  |  |  |
| 2 | - The organization chart/organogram sighted but no master and control stamp on it. - The organogram is due for review |  |  |  |  |  |  |  |
| 3 | Staff register did not follow the good documentation practices as most of the staff only ‘sing IN’ but did not ‘sign OUT’ |  |  |  |  |  |  |  |
| 4 | Documment retrieval is not too good as auditors waited a long time to see one. |  |  |  |  |  |  |  |
| 5 | Signature atlas is obsolete and not updated. |  |  |  |  |  |  |  |
| 6. | Although departmental training schedule is adequately followed and there is training scheduled for General straining of all staff but there is no record to indicate that the training is conducted. |  |  |  |  |  |  |  |
| 7. | Inadequate personnel protective wear (PPE) as most of the personnel have only one instead of a pair for better hygiene |  |  |  |  |  |  |  |
| 8. | No records to show the collection of personal protective equipment by the personnel/staff from the Laundry unit. |  |  |  |  |  |  |  |
| 9. | There is medical check conducted and the medical report sighted, the frequency when the test is conducted in the SOP for medical check-up not stated ( BML-AD-002) |  |  |  |  |  |  |  |
| 10. | All the obsolete records sighted were not adequately controlled. |  |  |  |  |  |  |  |
| 11. | Although there is a sign showing a muster point should any incident, but the signage needs to be in an obvious place and known to every staff in the facility. |  |  |  |  |  |  |  |
| CLOAK ROOM/TOILETS |  |  |  |  |  |  |  |  |
| 1. | Water leakage/dripping found in the men’s cloak room as at the time of this audit. |  |  |  |  |  |  |  |
| 2. | Wash hand basin is not working in female toilet |  |  |  |  |  |  |  |
| 3. | Rusting tap is sighted at female rest room |  |  |  |  |  |  |  |
| 4. | Holes inside the visitor rest room at reception. |  |  |  |  |  |  |  |
| 5. | Few of PPE meant for cleaned room were found outside under the flowers which certainly pose a danger to the critical areas in the production floor. |  |  |  |  |  |  |  |
| 6. | Poor illumination |  |  |  |  |  |  |  |
| Security |  |  |  |  |  |  |  |  |
| 1 |  | Security changing room seen to be jam-packed with irrelevant materials that should be ordinarily not there e.g. Phone charging, food plate etc. |  |  |  |  |  |  |
| 2 |  | Surroundings is seen not properly tidy up as engineering materials seen littering the area. |  |  |  |  |  |  |
| 3 |  | No standard written procedure for their operations. |  |  |  |  |  |  |
| Kitchen/ Canteen |  |  |  |  |  |  |  |  |
| 1 |  | Cooking utensils seen were not properly maintained as many of it is from fire to serve. No means of transferring it to serving bowls before dishing it out for staff. |  |  |  |  |  |  |
| 2 |  | The shelf’s seen not properly clean |  |  |  |  |  |  |
| 3 |  | Contractors’ equipment’s seen around the kitchen environment. |  |  |  |  |  |  |
| 4. |  | No standard written procedure for their operations. |  |  |  |  |  |  |
| Laundry |  |  |  |  |  |  |  |  |
| 1 |  | No standard written procedures for laundry in place. |  |  |  |  |  |  |
| 2 |  | No records for issuance and retrieval of dirt cloths in place after usage. |  |  |  |  |  |  |
| 3. |  | Exposed socket were sighted |  |  |  |  |  |  |
| 4. |  | There is foul odour smelling out from the drainage. |  |  |  |  |  |  |
| 5. |  | No signage at the entrance of laundry units |  |  |  |  |  |  |