- OBJECTIVE:

To provide written method of destroying the in-process finished product, raw material samples immediately after testing in order to avoid any mix up or misuse of the same.

- SCOPE:

To provide written guidelines for discarding the samples of in-process finished product and raw material samples after testing.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Laboratory Attendant, Chemist, Microbiologist, Quality Assurance Officer, Quality Assurance Manager, Supt. Pharmacist.

- ABBREVIATION AND DEFINITIONS

Nil

- PROCEDURES

- After the test of the raw material, in-process, finished product has been carried out; the sample must be label as sample for discarding.

- The in-process/finished product sample should be poured and flush with water into the drains after testing.

- Cut with scissors into pieces the finished product pouches and discard it accordingly.

- At the end of the day, all the raw material powder should be soaked in water and ensure that it totally dissolved before empty the content into the drains and flush with water thoroughly.

- Avoid pouring samples that contain organic solvents or samples that can cause blockage into the drains; such samples must be collected in a bowl and transferred into the dump

Materials, Equipment, Apparatus and Reagents

- Scissors

- REFERENCE AND ENCLOSURE

- IN-HOUSE

7.0 TRAINING INVOLVEMENT

| QA Managers | QC Head |
| --- | --- |
| Quality Control Analysts | Laboratory Assistants and Store Keepers |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL AND MICROBIOLOGY LABORATORIES |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in SOP format. - Inclusion of traceability of enclosures to parent SOP |