- PREPARATION/APPROVAL SHEET:

Signatures in this page indicate that this document has been prepared, checked and approved by the concerned personnel. It shall be signed and dated as shown below.

| DESIGNATION | NAME | SIGNATURE | DATE |
| --- | --- | --- | --- |
| PREPARED BY: |  |  |  |
| VERIFIED BY: |  |  |  |
| APPROVED BY: |  |  |  |
| QUALITY ASSURANCE MANAGER |  |  |  |

### Competency Categories

- Technical Skills (Analytical techniques, microbiological testing, instrumentation, etc.)

- Regulatory Compliance (GMP, GLP, pharmacopoeial standards, validation, etc.)

- Documentation & Data Integrity (Lab records, SOPs, LIMS, etc.)

- Quality Control & Risk Assessment (Deviation handling, OOS investigations, etc.)

- Safety & Good Laboratory Practices (PPE, biosafety, hazardous chemical handling)

- Soft Skills & Continuous Learning (Problem-solving, teamwork, leadership, etc.)

### Competency Levels

Define skill levels to classify analysts' proficiency:

- (Trainee): Can perform tasks under supervision

- (Analyst):

  - Can perform tasks independently

  - Can troubleshoot and train others

  - Can develop new methods and lead validations

### Competency Matrix Structure

| Competency Area | Specific Skill | Trainee | Analyst | Assessment Method | Training Required |
| --- | --- | --- | --- | --- | --- |
| Analytical Techniques | pH Measurement and Calibration | ✅ | ✅ | Practical Test | SOP Training |
|  | Conductivity Testing and Calibration | ✅ | ✅ | Practical Test | SOP Training |
|  | Water analysis | ✅ | ✅ | Practical test | SOP training |
|  | Optical rotation measurement | ✅ | ✅ | Practical test | SOP training |
|  | Reagent Receipt inspections | ✅ | ✅ | Hands-on inspection | SOP training |
|  | Technique | ✅ | ✅ | Correctness and finesse |  |
|  | TOC Analysis and Measures | ❌ | ✅ | Proficiency Testing | Advanced Training |
|  | UV-Vis spectrophotometer usage | ❌ | ✅ | Theory and Proficiency | SOP training |
|  | Stability testing | ❌ | ✅ | Theory and Proficiency | Protocol and SOP training |
|  | HPLC usage | ❌ | ✅ | Proficiency testing | Advanced training |
| Microbiological Testing | Sanitation and Microbial Stripping | ✅ | ✅ | Hands-on test | SOP training |
|  | Water analysis | ✅ | ✅ | Hands-on test | Periodic retraining |
|  | Media Receipt inspections | ✅ | ✅ | Hands-on inspection | SOP training |
|  | Particulate counting | ✅ | ✅ | Theory and Hand-on test | SOP training |
|  | Environmental and Personnel bioburden | ✅ | ✅ | Theory and Hands-on test | SOP training |
|  | Active Air Sampling | ❌ | ✅ | Hands-on test | SOP training |
|  | Decontamination | ❌ | ✅ | Theory and Hands-on test | SOP training |
|  | Endotoxin Testing | ❌ | ✅ | Hands-on Test | Periodic Retraining |
|  | Sterility Testing | ❌ | ✅ | Observation | Periodic Retraining |
|  | Pyrogen testing | ❌ | ✅ | Theory and Hands-on test | SOP training |
| Regulatory Compliance | Good Documentation Practices (GDP) | ✅ | ✅ | Document Review | GMP Training |
|  | Method Validation | ❌ | ✅ | Project Evaluation | Validation Training |
|  | Process Validation | ❌ | ✅ | Project Evaluation | Validation Training |
|  | Cleaning validation | ❌ | ✅ | Project Evaluation | Validation Training |
|  | Equipment qualification | ❌ | ✅ | Project Evaluation | Validation Training |
|  | Internal Audits | ❌ | ✅ | Project evaluation | Checklist observance |
|  | Systems validation | ❌ | ✅ | Project Evaluation | Validation Training |
| Quality & Risk Management | Handling OOS & Deviations | ❌ | ✅ | Case Study | Root Cause Training |
|  | Product quality review | ❌ | ✅ | Case study | Data handling |
|  | Gap and Risk analysis | ❌ | ✅ | Case study | Impact assessment |

### Assessment & Gap Identification

- Self-Assessment: Analysts score themselves against the matrix

- Supervisor Evaluation: Performance review against key competencies

- Competency Gap Analysis: Identify areas needing improvement

- Training Plan Development: Assign training based on gaps

### Implementation Strategy

- Define Roles & Responsibilities: Ensure alignment with job descriptions

- Assign Competency Levels: Evaluate existing analysts and categorize them

- Develop Training Programs: SOP reviews, hands-on practice, mentoring

- Regular Competency Assessments: Quarterly/yearly evaluations

- Continuous Improvement: Update based on audit findings and new regulations

- ANALYTS COMPETENCY INFORMATION

  - ANALYST NAME/POSITION /STAFF NO. QUALIFICATIONS

| ANALYST NAME | QUALIFICATIONS | DETAILS OF ANALYSIS | TRAINING DONE YES/NO |
| --- | --- | --- | --- |

- EVALUATION

  - FOR CHEMICAL ANALYST

| Sr. No. | Test | Acceptance Criteria | ANALYST NAME(S) | ITEM CODE. | EQIUPMENT ID NO. | METHOD NO. |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Assay test by HPLC | % RSD of Retention Time and Area of six replicate injection should not more than 2 % |  |  |  |  |
| 02 | Impurity test by HPLC | % RSD of two replicate injection for highest impurity should not more than 10 % |  |  |  |  |
| 04 | TOC/Water monitoring | % RSD of triplicate analysis shall not more than 2 % |  |  |  |  |
| 05 | UV test | % RSD of three replicated absorption of solution of particular concentration at specified wavelength should not be more than 2 % |  |  |  |  |
| 07 | Sp. Gravity test | % RSD of six replicates reading, not more than 2 % |  |  |  |  |
| 08 | Polarimeter (Specific Optical Rotation) test | % RSD of six replicates reading, not more than 2 % |  |  |  |  |
| 09 | Assay by chemically test | % RSD of six replicate analysis, not be more than 2 % |  |  |  |  |

  - FOR MICROBIOLOGIST

| S/N | Test | Acceptance Criteria | ANALSYST NAME(S) | METHOD NO./ SPECIFICATON NO. |
| --- | --- | --- | --- | --- |
| 1. | Microbial limit test | As per Pharmacopeia |  |  |
| a. | Total Bacterial & fungal count | Average Recovery should be in the range of 80-120% of initial value. |  |  |
| b. | Pathogen test | Results shall be repeated as that of initial analysis |  |  |
| c. | Gram staining | Result indicating the presence or absence of bacterial in the sample. |  |  |
| 2. | Sterility test | Results shall be repeated as that of initial analysis |  |  |
| 3 | Water analysis | Results shall be repeated as that of initial analysis |  |  |
| 4 | Bacterial Endotoxin | Results shall be repeated as that of initial analysis |  |  |

FOR IPQC CHECKERS

| S/N | Test | Acceptance Criteria | ANALSYST NAME(S) | ITEM CODE. | EQIUPMENT ID NO. |
| --- | --- | --- | --- | --- | --- |
| 1. | Fill volume | % RSD of six replicates reading, not more than 2 % |  |  |  |
| 2 | Water analysis | % RSD of six replicates reading , not more than 2 % |  |  |  |
| 3 | Particle test | % RSD of six replicate analysis , not be more than 2 % |  |  |  |
| 4 | Leakage test | % RSD of six replicates reading , should not more than 2 % |  |  |  |

REPORT SUMMARY

| ANALSYST NAME | METHODS OF ANALYSIS | RESULT AS PER ACEPTANCE CRITERIA (STATE ATTAHEMENT) | SCORE (1-10) | SUPERVISED BY QC ANALYST NAME/DATE/SIGN |
| --- | --- | --- | --- | --- |

Note:

A.   Excellent       (9-10 )

- B.   Very Good     (7 – 8)

- C.   Good             (6 – 7)

- D.   Fair               (4 – 6)