- OBJECTIVE:

To provide written guidelines for Area Qualification.

- SCOPE:

This SOP covers the procedure for Area Qualification.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Production Pharmacist, Q.A Officer, Q.A Manager, Superintendent Pharmacist

- ABBREVIATION AND DEFINITIONS

Nil

- PROCEDURES

Area qualification is designed to assess the area suitability for the intended purpose. Area qualification is to be done by the Validation team comprising of Production Pharmacist, Engineer In-charge, Quality Control Manager and Superintendent Pharmacist.

The Area Qualification protocol should consider the following aspects.

- Dimensions and space availability for the intended purpose of operation.

- List of Machineries and proper positioning.

- Lighting.

- Air conditioning / ventilation

- Inner surfaces – walls, floor, ceiling.

- Ease of cleaning, coving

- Service lines – Raw water, DM water, compressed air etc.

- Floor drains, electrical sockets etc.

- Bio burden monitoring studies.

## PROTOCOL FOR AREA QUALIFICATION

Objective: To assess the suitability of the area for intended purposes of operation

| S. No. | Parameter | Observation | Remarks |
| --- | --- | --- | --- |
| 1. | Area name |  |  |
| 2. | Intended purpose of operation |  |  |
| 3. | Dimensions (Length, Width, Height & Area) | Length: Width: Height: Area; |  |
| 4. | List of Machineries installed in the area |  |  |
| 5. | Space occupied by Machineries |  |  |
| 6. | Space available for Personnel movement |  |  |
| 7. | Lighting (No. of tube lights and Lux level) |  |  |
| 8. | Air conditioning / ventilation | No. of supply diffusers: No. of return diffusers: No. of air changes; Differential pressure across near by area |  |

| S. No. | Parameter | Observation | Remarks |
| --- | --- | --- | --- |
| 9. | Inner surfaces | Floor: Ceiling: Coving: Painting: |  |
| 10. | Utility service lines | Raw water line DM water line Hot water line Compression air line Floor drain Electrical sockets |  |
| 11. | Bio burden monitoring studies | Plate exposure studies results |  |

- REFERENCE AND ENCLOSURE

- IN-HOUSE

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in SOP format. - Inclusion of traceability of enclosures to parent SOP. |