- OBJECTIVE:

To provide written guidelines for chemically disinfect the laboratory and cleaning of all quality control Instruments in the laboratories.

- Scope:

This SOP covers the process of chemically disinfect the laboratory and cleaning of all quality control Instruments in the laboratories

3.0 RESPONSIBILITY/ACCOUNTABILITY:

- The analyst or designate cleans the laboratory instrument and fill the daily/weekly cleaning chart.

- The Quality Control Head or designate ensure that the cleaning activities is done accordingly.

4.0 ABBREVIATIONS AND DEFINITIONS

- v/v = volume per volume

- PROCEDURE

CLEANING OF THE AREA

- Sweep the floor with plastic brushes/broom to clean away that may be on the floor.

- Add the prepared 2.5%v/v Soap Solution to clean water & mop the whole area clean.

- Take extra effort to clean the covings between wall & floor as these are the areas prone to accumulation of more dirt.

- Clean all the tables and chairs with moist cloth and wipe dry.

- Clean the surface of the work bench and utilities with wet lint free duster at least once in a shift and record the cleaning in the general daily record chart BML.QDG.QA.006-F02.

- Clean the AC air grills with wet lint free duster at least once in a day.

DISINFECTION OF THE AREA

- Prepare the required disinfectant solution as per the schedule in proper concentration. Use purified water for diluting the disinfectant.

- With the help of a mop clean the whole floor with the disinfectant solution.

- Leave it like this for at least 10 minutes. Mop away the excess disinfectant solution from the floor after 10 minutes to render the floor dry.

FREQUENCY OF CLEANING

- The laboratories being classified as non-clean Area the laboratories should be cleaned at least once a day.

- At no instance of time there should be water, product or chemical solutions on the floor or work bench tops.

- Be prompt to remove any dirt/debris from the operations like used sampling bags, paper tags, labels if on the floor.

- Very frequently (at least once a day) clean the bins used to contain waste.

CLEANING OF EQUIPMENT

- Ensure the equipment is switched off and disconnected from the power source before cleaning.

- Remove all samples, reagents, and accessories from the work area.

- Clean equipment immediately after use or at the end of each working day.

- Use clean cleaning tools for each equipment to avoid cross-contamination.

- Handle sensitive components carefully to prevent damage (e.g., electrodes, optical lenses).

- Always wear personal protective equipment (PPE).

Surface cleaning:

- Wipe external surfaces with a lint-free cloth dampened with distilled water (or 70% IPA or prepared soap solution).

- Remove visible residues using detergent solution where necessary.

Internal or Contact Parts:

- If detachable, remove and clean parts in a mild detergent solution.

- Rinse thoroughly with distilled or purified water.

- Dry with lint-free tissue or allow to air dry in a clean area

Drying:

- Ensure no water or solvent remains inside or on the surface before reassembling.

- Avoid using compressed air directly unless filtered and oil-free.

Post-Cleaning Verification:

- Inspect equipment visually for cleanliness.

- If residues or stains remain, repeat cleaning until surfaces are visibly clean.

- Report any abnormalities to the QA and Technical teams (e.g., corrosion, discoloration, and residue).

Documentation:

- Record the date and initials in the Equipment Cleaning Log (BML-QDF-CL-002-F01 or BML-QDS-CL-002-F02).

Frequency of cleaning:

| Type of cleaning | frequency |
| --- | --- |
| Periodic cleaning | Weekly |
| Routine cleaning | After each use |

SCHEDULE FOR DISINFECTANTS

| DAY | DISINFECTANT | CONCENTRATION |
| --- | --- | --- |
| MON | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| TUE | PURIT (Cetrimide Solution) | 2.0% v/v |
| WED | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| THU | PURIT(Cetrimide Solution) | 2.0% v/v |
| FRI | DETTOL (Chlorhexidine Solution) | 2.5%v/v |
| SAT | PURIT(Cetrimide Solution) | 2.0% v/v |

Materials, Equipment, Apparatus and Reagents

- PPE

- Hand gloves

- Nose Mask

Safety, Health and Environment Precautions

- Ensure there is no accumulation of water on the floor.

- Be prompt to clean any water or chemical spillage

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

- General weekly equipment cleaning chart- BML-QDF-CL-002-F01

- General weekly equipment cleaning chart- BML-QDS-CL-002-F02

- General daily cleaning record chart –BML-QDG-QA-006-F02.

- TRAINING INVOLVEMENT

| Quality Control Head | Chemical Analyst |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 01 | ### 00 | To Update |
| ### 02 | ### 01 | - Inclusion of enclosures format - Change in sop format generally |