- OBJECTIVE:

To lay down the procedure for receipt for all chemical reagents.

- SCOPE:

This is applicable to all receipts for all chemical reagents in quality control department.

- RESPONSIBILITY/ACCOUNTABILITY:

Head of the department /QC Chemist

Warehouse personnel

4.0 ABBREVIATIONS AND DEFINITIONS:

QC-Quality Control

- PROCEDURE:

- The warehouse personnel should ensure that the vehicle is clean inside and well covered before unloading.

- The warehouse personnel should examine all containers for obvious differences including obliterations and mislabeling.

- Ensure that the following information is clearly written on the reagent intimation form given ;

- Chemical reagent name

- Batch no of the chemical reagent

- Manufacturing date

- Expiry date

- Manufacturers name and address

- Report any fault to the quality control head.

- The reagent shall be shifted to the demarcated quarantine area.

- Each container of a given consignment of the chemical reagent received shall be label as ‘’QUARANTINE” in quarantine area.

- Segregate any damaged containers and those with spoiled contaminant content for separate examinations.

- Any material noticed to have 75% less than the expiry date should be rejected.

- Separate containers according to batch numbers and number them.

- Raise an intimation form for the sampling of the chemical reagent to the quality control department.

- Wait for QC personnel for sampling of the chemical reagent according to the SOP guidelines on sampling of raw material format and affix approved sample label after sampling.

APPROVED SAMPLE LABEL

Reagent name

Reference no:

Batch no:

Batch size:

Test date:

Origin:

Retest date:

Analyst:

- Ensure that neither of the chemical reagents nor the sample taken is exposed to contaminants.

- The warehouse personnel shall enter the chemical reagent received details in reagents receipt form.

- REFERENCE/ENCLOSURE:

- BML.QDG.CL.014.F01 – GENERAL REAGENT RECEIPT LOG

- TRAINING INVOLVEMENT:

| Quality Control Head | Quality Control Chemist |
| --- | --- |
| Laboratory assistant | Warehouse Personnel |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |