- OBJECTIVE:

To provide instructions for cleaning the weighing scales

- SCOPE:

To provide written guidelines for cleaning of 15kg, 50kg and 500kg Weighing Scales

- RESPONSIBILITIES/ACCOUNTABILITIES:

Mixing Operators, Production Pharmacist

- ABBREVIATION AND DEFINITIONS

NA

- PROCEDURES

Precaution:

Apart from routine cleaning after weighing of each material, the Weighing Scales must be cleaned every week.

- Disconnect the apparatus from power source

- Prepare a 2% disinfectant solution (2ml Disinfectant/100ml of water)

- Use the solution and a clean cloth to wipe the Scale pan with a moist cloth and dry

- Clean the other parts

- Lift the apparatus from its original position and clean the base

- Replace

- Document the cleaning in the appropriate record

Materials, Equipment, Apparatus and Reagents

1. Soft cloths

2. Disinfectant

3. Clean water

Safety, Health and Environmental Precautions

Follow procedure as laid down

- REFERENCE AND ENCLOSURE

NIL

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |