- OBJECTIVE:

To provide written guidelines for verifying the stability of volumetric solutions

- SCOPE:

This SOP covers the procedure for all solutions prepared in the laboratories.

- RESPONSIBILITY/ACCOUNTABILITY:

- The Chemical analyst shall prepare the reagents and solutions as prescribed in the monograph

- The Chemical analyst shall carry out the tests and standardization of reagents as prescribed in the monograph

- The quality control analyst reports any near miss or incident that may occur during procedure

4.0 ABBREVIATIONS AND DEFINITIONS

Nil

- PROCEDURE

Operation

- Preparation, standardization and storage of volumetric solution shall be as per Pharmacopoeia.

- Initial standardization of volumetric solution shall be done on same day or next day as per general test procedure or pharmacopoeia. A record shall be maintained for preparation and standardization.

- All the volumetric solution prepared for the first time shall be subjected to stability studies.

- All the volumetric shall be standardized at interval given as below and a report maintained. The intervals are: 1, 3, 5, 8, 14, 30, 45, 60 and 90 days.

- For solutions having their stability less than a week, they shall only be prepared when needed.

- Solutions having mould or one that its solute precipitates out of are deemed before the due date shall have shelf-life shorter than what has been stipulated.

- Only distilled/demineralized water prepared for the day shall be used to prepare reagents.

Materials, Equipment, Apparatus and Reagents

PPEs, distilled or demineralized water, Pharmacopoeia.

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

In House

- TRAINING INVOLVEMENT

Quality Manager

Quality control staff

All sectional heads in the quality department

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |