- OBJECTIVE

To outline the procedure for the receipt, storage, preparation, use and disposal of microbiological culture media used during microbiological analysis

- SCOPE

This SOP is applicable to microbiological media used by the Microbiology laboratory

- RESPONSIBILITIES/ACCOUNTABILITY

- Quality Control Microbiologist/ Laboratory Assistant: follow the  SOP accordingly.

- Quality Control Head ensures compliance with this SOP and review.

- Quality Assurance Manager approve prepared media and verify that the prepared media meet quality standards and regulatory requirements.

- ABBREVIATION AND DEFINITIONS

- Culture Media: A nutrient-rich environment used for the growth and cultivation of microorganisms.

- Sterilization: The process of eliminating all forms of microbial life.

- PROCEDURE

PREPARATION

Gathering Materials:

- Wear appropriate personal protective equipment, including a lab coat, gloves, and safety glasses.

- Ensure all materials and equipments are clean and well calibrated.

- Sterilize all glass wares to be used for the culture media preparation

- Check the manufacturer’s instruction for each culture medium to be prepared and weigh appropriate amount accordingly.

RECEIPT OF MICROBIOLOGICAL MEDIA

- On the receipt of Microbiological media, check for the expiry date of the media and mention the date of receipt on the label of the media container.

- The analyst must mention the date of opening with a sign on label while opening the container.

- After receipt of the Microbiological media, make necessary entries in the media stock record LGK/QDG/MC/001/02S or 02F.

- After opening the Microbiological media container, the media shall be used up to shelf life defined on the media container

- Use culture media as per supplier’s instruction.

STORAGE OF DEHYDRATED MICROBILOGICAL MEDIA

- The dehydrated media are highly hygroscopic and must be stored as per the supplier’s storage conditions mentioned on the label

- List of media BML/QDG/MC/001/L01 having storage conditions and Ph limit must be prepared and to be displayed near media storage room

MICROBIOLOGICAL MEDIA PREPARATION

Weigh Dehydrated Media:

- Accurately weigh the required amount of dehydrated culture media powder using a calibrated balance. BML.QDS.MC.005

- Record the weight in the media preparation logbook LGB/QDG/001/MC/01S or 01F.

Dissolve Media:

- Measure the required volume of distilled or demineralized water using a measuring cylinder.

- Pour the weighed media into a clean conical flask.

- Gradually add the measured water to the media while stirring to ensure complete dissolution (follow manufacturer’s instruction by mixing or boiling).

- Plug the mouth of the conical flask containing dissolved media in case of agar medium with non-absorbent cotton plugs and wrap with foil paper.

- The media should be sterilized within 1 hr.

- For slant preparation, dispense about 7ml of molten media in each tube (20mm x150mm) and plug it. Before sterilization, ensure that agar is molten/dissolved and mixed properly which otherwise must affect solidification process.

- For the liquid Microbiological media preparation, appropriate volume must be dispensed either in the test tube or in the conical flask as required.

- Tube/flask mouth must be closed using sterile caps/cotton wool

Adjust pH (if necessary):

- Check the Ph of the medium before sterilization with a calibrated pH meter.

- If required, adjust the pH to the desired value by adding small amounts of 0.1MHCl or NaOH solutions.

- Record the pH in the media preparation logbook.

- Transfer 10-15ml of dissolved media in an autoclavable test tube and label with media lot number and purpose ( for PH check)

STERILIZATION

Labeling:

Label the media bottles or flasks with the media name and preparation date appropriately.

Transfer to Media Bottles:

- Pour the prepared media solution into appropriate media bottles, leaving sufficient headspace.

- Cap the bottles or cover the flasks with non-absorbent cotton wool and aluminum foil.

Autoclaving:

- Carefully place the media bottles or flasks in the autoclave properly.

- Sterilize the media by autoclaving at 121°C, 15pressure for 15-20 minutes or as per the media preparation method described by the media supplier on the media container and SOP on bucket autoclave usage BML.QDS.MC.007

- After sterilization, check the PH of the medium (contained in a separate test tube) with calibrated PH meter.

- Ensure that the PH meter electrode dips into the medium

- Make records in the Microbiological Media preparation record.

- Allow the media to cool to 450C after autoclaving.

QUALITY CONTROL

PRE-INCUBATION OF MICROBIOLOGICAL MEDIA

- After sterilization, distribute 15-20mls of the media into plates/bottles respectively

- Invert and incubate the media plates (Tryptic soybean agar, MacConkey both and Eosin methylene blue agar plates at 300C-350C and Sabouraud dextrose agar plates at 200C-250C for 24hours.)`

- After the microbiological media is solidified, the petri-dishes, test tubes containing media must be identified with the status label as ‘ Under pre-incubation”

- Pre-incubation for the media to be used for Environmental monitoring must be at 30-350C for minimum of 24hrs incubation time.

- After completion of pre-incubation, and the examination of Microbiological media (plates /bottles must be checked visually for any microbial growth, if detected, such plates shall be removed and the plates/bottles to be subjected to destruction as per SOP for destruction of microbial waste by autoclaving BML/QDG/MC/008

- If after completion of pre-incubation, there is no microbial growth, the media must be labeled as “Ready to use’

- To ensure pre-incubation time, the start date and time as well as date of use of the media must be recorded in the record work sheet

- The time interval between pre-incubation start and usage must not less than 24hours.

DISPOSAL OF USED MEDIA

- The disposal of used media must be conducted according to the Disposal of Cultured media as per SOP BML/QDG/MC/008

MICROBIOLOGICAL MEDIA RECONCILIATION

- Media reconciliation must be done for each batch of the prepared dehydrated medium and the limit must be 98-101%.

- Document all activities in the logbook for media/reagent preparation LGB/QDG/001/MC/01S or 01F.

Media/Reagent preparation logbook LGB/QDG/MC/001/01S OR LGB/QDG/MC/001/01F

| DATE | MEDIUM | QUANTITY WEIGHED (g) | VOLUME PREPARED (ml)) | pH OF WATER | pH OF MEDIA | After PH ADJUSTMENT | PREPARED BY | CHECKED BY | REMARK | SIGN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

PRECAUTIONS:

- Store the dehydrated media as directed by the manufacturer

- ensure that expired culture media are not used

- Always ensure that only sterile/sterilized culture bottles and plates are used

- Personnel must always work in an aseptic environment.

- Always ensure that every culture media is properly labeled.

MATERIALS AND EQUIPMENT

- Dehydrated culture media powder

- Aluminum foil

- 70% Isopropyl Alcohol

- Cotton wool

- Distilled or demineralized water

- Weighing Balance (calibrated)

- Measuring cylinders

- pH meter (calibrated)

- Test tubes

- Autoclave

- Conical flask

- Paper tape (for labelling)

- Personal protective equipment (PERSONAL PROTECTIVE EQUIPMENT)

- Petri-dishes

- MacCartney bottles

- Incubators

- Spatula

- REFERENCE/ENCLOSURE

- Manufacturer's instructions for dehydrated media

- USP, general chapter <61> Microbiological examination of non -sterile products: microbial enumeration

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Control Microbiologist | Laboratory assistance |

- DISTRIBUTION AND DOCUMENTATION CONTROL

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORIES |

- REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | - First issue |
| ### 02 | ### 01 | - To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |