- OBJECTIVE:

To isolate and identify microorganisms from microbial test culture.

- SCOPE:

- This test procedure will apply to microorganism obtained from test of water, raw materials, environmental monitoring exercise, personnel monitoring- finger dab, equipment and tools for manufacturing

- RESPONSIBILITY/ACCOUNTABILITY:

- Microbiologists shall conduct the test as specified in this procedure.

- The Quality Control Head ensures the procedures outlined are followed

4.0 ABBREVIATIONS AND DEFINITIONS

- GLP: Good Laboratory Practice

- GDP: Good Documentation Practice

- CFU: Colony Forming Unit

- TSA: Tryptone Soya Agar

- TSB: Tryptone soya Broth

- EMB: Eosin Methylene Blue Agar

- PROCEDURE

GRAM`S STAINING FOR BACTERIA (After incubation period)

    - Aseptically open microbial culture tube under biosafety cabinet.

    - Take a loop full of culture and make suspension in sterile saline water (1 in 10 dilution)

    - Take a clean grease free slide and make a thin smear of culture with saline.

    - Air dry, heat fix by passing the slide slowly through the flame. Avoid overheating.

    - Flood the smear with crystal violet (primary stain) for 1 minute. Wash with purified water.

    - Add Gram`s Iodine as a mordant for 1 minute.  Wash with purified water.

    - Decolonize the smear with absolute alcohol for 10secs.

    - Add Safranin as the counterstain and leave it for 1 minute. Wash with purified water.

    - Air dry, blot dry the slide and observe under the microscope.

    - Organisms which would appear purple in color have taken primary stain and are Gram`s positive bacteria.

    - Organisms which would appeared red/pink in color have taken counterstain and are Gram`s negative bacteria.

    - Compare the morphology of the culture observed in the microscope with the morphology mentioned in the point III.

    - Verify the colony characteristics of microbial culture in respective media as per point III

    - If colony characteristics do not match the point III Record the morphology only in the identification of microorganism logbook LGB/QDS/009/MC/001 and LGB/QDF/009/MC/001 respectively

| Date | Analyst name | Sample/ Batch number | Cultural features | Gram reaction | Catalase | Oxidase | Indole | Coagulase | gas | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

LACTOPHENOL COTTON BLUE STAINING FOR FUNGI

    - Aseptically open microbial culture tube under LAF.

    - Take a clean grease free slide.

    - Take the mycelium (for filamentous fungi) of the fungi with the help of needle and forceps and place it on the slide. Carefully tease the mycelium and add few drops of Lactophenol cotton blue cover the whole mycelium, cover with a Clean grease free coverslip and observe under the microscope.

    - Compare the morphology of the culture observed in the microscope with the morphology in the point III

    - Verify the colony characteristics of microbial culture in respective media as per point III

    - If colony characteristics do not match the point III Record the morphology only.

MORPHOLOGY OF MICROBIAL CULTURE

    - E.coli: Coccobacilli Gram`s Negative - Indole production - positive (Colonies with green metallic sheen on EMB agar)

    - Salmonella spp: Gram`s Negative rods – Urease negative (white, smooth, with round edges colonies of similar size of 2-4mm in diameter on TSA plate)

    - Staphylococcus aureus: Gram`s positive cocci in bunches-coagulase positive (large, round, golden yellow colonies on TSA)

    - Pseudomonas aeruginosa: Gram`s negative short rods – mortile, oxidase positive (yellow-green pigment on TSA and colourless on MA)

    - Candida albicans: Yeast like/Dimorphic fungi oval/spherical budding yeast produces septate pseudohyphae and true hyphae (whitish cream colored mucoid large colonies)

    - Aspergillus niger: filamentous fungi on microscopically show branching and septate hyphae. (Black spore-forming fungi)

MATERIALS, EQUIPMENT, APPARATUS AND REAGENTS:

- Inoculating needle

- Forcep

- Cover slip

- 70% IPA.

- Lactophenol cotton blue

- inoculating loop

- 0.9% normal saline

- Purified water

- Bunsen burner

- laminar air flow

- Microscope

- Gram`s staining reagents

- Glass slide

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

Nil

- TRAINING INVOLVEMENT

| Quality Control Head | Quality control microbiologist, Laboratory assistant |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORIES |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |