As per WHO – TRS – 1044 Annex 2	Date: ___________

| Maximum Concentration Limits (particulate/m3) for particle > sizes zone |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | At Rest |  |  |  | In Operation |  |
|  | ≥0.5 µm |  | ≥5.0µm |  | ≥0.5 µm | ≥5.0µm |
| GRADE | Spec |  | Spec |  | Spec | Spec |
| A | ≤ 3520 |  | Not Specified |  | ≤3520 | Not Specified |
| B | ≤ 3520 |  | Not Specified |  | ≤352000 | ≤2930 |
| C | ≤352000 |  | ≤2930 |  | ≤3520000 | ≤29300 |
| D | ≤3520000 |  | ≤293000 |  | Not Predetermined | Not Predetermined |
| SECTION: Grade C |  | At Rest |  | In Operation |  | Status |
|  |  | ≥0.5 µm | ≥5.0µm | ≥0.5 µm | ≥5.0µm |  |
| Inoculating Unit (Micro) |  |  |  |  |  |  |
| Preparatory Unit |  |  |  |  |  |  |
| Filling Unit |  |  |  |  |  |  |
| Filling Walkway |  |  |  |  |  |  |
| Filling Airshower 1 |  |  |  |  |  |  |
| Filling Airshower 2 |  |  |  |  |  |  |
| Passbox 1 |  |  |  |  |  |  |
| Passbox 2 |  |  |  |  |  |  |
| Passbox 3 |  |  |  |  |  |  |
| Passbox 4 |  |  |  |  |  |  |
| Batch Coding Unit |  |  |  |  |  |  |
| Mixing Unit |  |  |  |  |  |  |
| Mixing Airshower |  |  |  |  |  |  |
| Decartoning Unit |  |  |  |  |  |  |
| Weighing Unit |  |  |  |  |  |  |

Remark:

Done by:	Checked by: