- OBJECTIVE:

To describe the procedure of Calibration of De Lema Autoclave

- SCOPE:

To provide written procedure for calibration of De Lema Autoclave

- RESPONSIBILITIES/ACCOUNTABILITIES:

QA Officer, Technical Officer, Chemist, Microbiologist, QA Manager

- ABBREVIATION AND DEFINITIONS

Nil

- PROCEDURES

CALIBRATION:

- Ensure you have all the necessary tools and equipment for calibration. This may include a calibrated thermometer, pressure gauge, and other instruments specified by the autoclave manufacturer.

- Verify that the autoclave is in proper working condition. Ensure that it is clean, and that all components are functioning correctly. Address any issues or malfunctions before proceeding with calibration.

- Place the calibrated thermometer in a location representative of where the load is typically positioned.

- Run a heat distribution test to ensure uniform temperature throughout the autoclave chamber.

- Make adjustments as needed to achieve precise and consistent temperature readings.

- Connect the pressure gauge to the autoclave and run a pressure test. Compare the readings with the specified values from the manufacturer. Adjust the pressure settings if necessary to meet the desired parameters.

- Maintain detailed records of the calibration process, including temperature and pressure readings, adjustments made, and any issues encountered.

- Proper documentation is essential for regulatory compliance and quality assurance.

- REFERENCE AND ENCLOSURE

Nil

7.0 TRAINING INVOLVEMENT

| Quality Control Manager | QC Microbiologist |
| --- | --- |
| QA Doc. Unit staff | Lab Assistant |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |