- OBJECTIVE:

To provide the instructions for the Operation and Backwashing of Sand and Carbon filter

- SCOPE:

To provide written guidelines for the Operation and Backwashing of Sand and Carbon filter

- RESPONSIBILITY/ACCOUNTABILITY:

Water treatment Officer, Technical Officer, Q.A. Officer, Maintenance Manager, Microbiologist, Production Pharmacist, Quality Assurance Manager, SP/FM

- ABBREVIATIONS AND DEFINITIONS:

PSF – Pressure Sand filter

ACF – Activated Carbon Filter

- PROCEDURE:

PRESSURE SAND FILTER (PSF)

BACKWASH OF THE PRESSURE SAND FILTER

- Close the service outlet valve of PSF.

- Switch the valves to  backwash mode

- Start the feed water pump

- Continue backwashing for 30 minutes.  Check the rinse water quality for clarity

- If rinse water is clear, switch off the pump and put the column back to service mode

- Open the service outlet valve.

BACKWASH OF THE ACTIVATED CARBON FILTER

ACTIVATEDCARBON FILTER (ACF)

- Close the service outlet valve for ACF

- Switch the column to backwash mode

- Start the feed water pump

- Continue backwashing for 30 minutes. Check the rinse water quality for clarity

- If rinse water is clear switch-off the pump and put the column back to service mode

- Open the service outlet valve.

FREQUENCY: Daily

- REFERENCE/ENCLOSURE:

In-house

- TRAINING INVOLVEMENT

| Chief Engineer | Engineer-Incharge, Operators/Assistants. |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | WATER TREATMENT UNIT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |