- OBJECTIVE:

To lay down the procedure for replacement of vent filter.

- SCOPE:

To provide written guidelines for replacement of vent filter.

3.0 RESPONSIBILITY/ACCOUNTABILITY:

Water treatment Operator/Officer, Engineer, Q.C Chemist.

- ABBREVIATIONS AND DEFINITIONS:

N/A

- PROCEDURE:

- Open the vent valve filter from the Purified Water Storage Vessel (Water System).

-  Check the vent filter visually.

-  Replace the vent filters immediately if damaged from any side.

-  Attach the vent valve back to the Purified Water Storage Vessel and close completely.

- REFERENCE/ENCLOSURE:

In-house

- TRAINING INVOLVEMENT

| Chief Engineer | Engineer-Incharge, Operators/Assistants. |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | WATER TREATMENT UNIT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |