- OBJECTIVE:

This SOP describes the process of operation of air lock into the clean areas.

- SCOPE:

This SOP covers the method of operation for air lock into the clean areas

- RESPONSIBILITIES/ACCOUNTABILITIES:

Production Staff, Pharmacist, Quality Assurance Officer, Microbiologist

- ABBREVIATION AND DEFINITIONS

NA

- PROCEDURES

- When entering into the clean area all necessary PPE must be worn.

- Close the door gently

- Ensure the power is on, allow the air to blow

- Raise your two hands up to allow the air to blow away any particle present on the garment

- Slowly rotate at 360o

- Wait until the reading is back to zero on the air blower screen

- Open the door to the clean area

- Once inside the clean area, follow good manufacturing practices at all time.

- REFERENCE AND ENCLOSURE

In-House

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |