- OBJECTIVE:

To provide the method for UV Irradiation of Manufacturing and Filling areas.

- SCOPE:

To provide written guidelines for UV Irradiation of Manufacturing and Filling areas.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Operators, Production Pharmacist, Quality Assurance Manager

- ABBREVIATION AND DEFINITIONS

NIL

- PROCEDURES

- Procedure

  - Manufacturing and filling areas of sterile preparations are to be UV Irradiated for controlling the bio burden of the area.

  - Switch “OFF” the UV lamps at the starting of the shift.

  - Switch “ON” the UV lamps at the end of each shift.

  - Record the UV lamps burning hours in the record meant for it.

  - Clean the UV lamps (in OFF position) once in a week with cloth moistened with distilled water.

  - If UV lamps are not working inform Maintenance Department for rectification.

Precautions:

UV Irradiation can cause eye irritation; hence do not stare at the UV Irradiation.

Ensure that the UV lamps are not switched “ON” during operational hours.

- REFERENCE AND ENCLOSURE

In House Method

7.0 \TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |