- OBJECTIVE:

To provide the instructions for line clearance of the weighing room.

- SCOPE:

This SOP covers the weighing room and provided guidelines for line clearance of weighing equipment’s, environment and materials

- RESPONSIBILITIES/ACCOUNTABILITIES:

Quality Assurance Officer, Production Supervisor, Production Pharmacist, Quality assurance Manager, Production Manager, Superintendent Pharmacist/Factory Manager

- ABBREVIATION AND DEFINITIONS

- Nil

- PROCEDURES

- Ensure that the floor of the weighing room cleaned and tidy free from torn bags.

- Ensure that the dispensing spoons, scoops are cleaned before use.

- Ensure that the personnel use the approved formulation sheet always while weighing of raw materials.

- Make sure that weighing scale to be used is calibrated.

- Make sure the appropriate label is fixed to indicate name and quantity of material weighed.

- Make sure the personnel placed only the raw material intended for weighing placed in the weighing room.

- Make sure the personnel placed materials to be weighed always be on clean plastic/stainless pallets.

- The weighing room should always be dusted, all the spilled powders is clean after each operation

- Make sure that the production personnel followed the written procedure as prescribed in the individual Batch Manufacturing Record (BMR).

Materials, Equipment, Apparatus and Reagents

- Dispensing spoons,

- Dispensing scoops

- Distilled water

- Soft brush

- REFERENCE AND ENCLOSURE

In-house Method

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |