- Objective:

To provide the instructions for cleaning and Operation of Hot Plate.

- Scope:

To provide written guidelines for cleaning and Operation of Hot Plate

- Responsibility/accountability:

Laboratory Assistant, Quality Control Chemist, Quality Control Microbiologist, Quality Assurance Manager, Supt. Pharmacist/ Factory Manager

4.0 Abbreviations and Definitions

PPE- Personal Protective Equipment

- Procedure

Cleaning Procedure:

- Ensure the hot plate is switched off and unplugged from the electrical power supply before cleaning.

- Wear appropriate PPE including gloves, lab coat, and eye protection.

- Allow the hot plate to cool completely before attempting to clean.

- Use a clean, soft, lint-free cloth slightly dampened with mild detergent solution to wipe the surface.

- Do not immerse the hot plate in water or allow liquid to enter internal components.

- Dry the surface with a clean, dry cloth.

- Visually inspect the unit for any damage or residue.

- Record the cleaning activity in the equipment cleaning logbook (BML-QDF-CL-015-F01) with date, time, and initials.

Operation Procedure

- Inspect the hot plate before use for any visible damage or contamination.

- Plug the hot plate into a grounded power outlet.

- Ensure the hot plate is on a stable, heat-resistant surface and away from flammable materials.

- Turn on the main power switch.

- Set the thermostat or temperature dial to the desired setting.

- Place heat-resistant containers (e.g., beakers, flasks) directly on the plate, ensuring full contact with the surface.

- Monitor the temperature and process carefully throughout the operation.

- After use, switch off the unit and unplug from the power supply.

- Allow the plate to cool before handling or storing.

- Document/Record the activity in the Equipment of Usage Logbook (BML-QDF-CL-015-F02).

Materials, Equipment, Apparatus and Reagents

PPE

Clean cloth

6.0 REFERENCE/ENCLOSURE

In House

ENCLOSURE 1- HOT PLATE CLEANING LOGBOOK- BML-QDF-CL-015-F01

ENCLOSURE 2- HOT PLATE USAGE LOGBOOK- BML-QDF-CL-015-F02

7.0 TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality Control Head |
| --- | --- |
| QC Analyst | Laboratory Assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE/ DOCUMENTATION UNIT |
| --- | --- |
| CONTROLLED COPIES | CHEMICAL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |