- Objective:

To provide the instructions for cleaning of work bench in Chemical Laboratory

- Scope:

To provide written guidelines for cleaning of work bench in Chemical Laboratory.

3.0 Responsibility/Accountability:

Laboratory Assistant, Quality Control Chemist, Quality Assurance Manager, Supt. Pharmacist

4.0 Abbreviations and Definitions

N/A

- Procedure

- Wear appropriate PPE

- Ensure that all cleaning materials are clean and residue free i.e. soft cloth, bowls

- Remove all chemicals, glassware, instruments and documents from the bench.

- Clean the entire work bench surfaces and equipment with clean, dry, soft cloth to remove dust and particles.

- Fill clean bowls needed with clean/deionized water then add approved disinfectant and detergent in validated concentrations.

- Soak soft cloth in the prepared solution and thoroughly wipe the entire surface of the work bench.

- Make sure that the benches are cleaned thoroughly using the prepared soap solution.

- For persistent stains, perform localized cleaning using mild mechanical action.

- Avoid excessive use of water near instruments or electronic devices

- Use a fresh soft cloth dampened with deionized water to wipe away detergent residue from the surfaces.

- Use a dry, clean cloth to thoroughly dry the bench. Ensure no moisture is left behind.

- Ensure the work bench is clean, dry and free from chemical residues, stains or lint.

Materials, Equipment, Apparatus and Reagents

- Deionized Water

- Soft Cloths

- Bowls

- Soap

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |