- Objective:

To provide written guidelines for cleaning and operation of fume Cupboard

- Scope:

This SOP covers the procedure for cleaning and operation of Fume cupboard

- Responsibility/accountability:

Quality Assurance Officer, Quality Control Chemist, Quality Assurance Manager and Superintendent Pharmacist.

4.0 Abbreviations and Definitions

N/A

- Procedure

Cleaning

- Inspect the interior for spills, dust, or chemical residue before and after each use.

- Clean the internal surface using: Soft, lint-free cloth, mild detergent or approved surface disinfectant.

- Do not spray water or chemicals directly into the ventilation grill or electrical parts.

- If corrosive or volatile chemicals are used, clean immediately after use to prevent buildup or corrosion.

- Record cleaning activity in the Fume Cupboard Cleaning Logbook (BML-QDF-CL-014-F01).

Operation

- Switch on the main electrical power supply to the fume cupboard.

- Switch on the different compartment button

- Make sure the extractor is vibrating and perfectly working

- Slowly open the front window of the cupboard to working height.

- Get your chemical from the shelf and place it in the fume cupboard

- Open it gently, and dispense the amount you need

- Cover it back and return to the shelf

- Switch off the light and extraction button

- Clean the cupboard in case of any spillage

- Close the door of the cupboard and disconnect from the main electrical supply after use.

- Record the activity in the Equipment Usage Logbook (BML-QDF-CL-014-F02)

Materials, Equipment, Apparatus and Reagents

- PPE

6.0 REFERENCE/ENCLOSURE

ENLCOSURE 1- Fume Cupboard Cleaning Logbook (BML-QDF-CL-014-F01).

ENCLOSURE 2- Fume Cupboard Logbook (BML-QDF-CL-014-F02).

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |