- Objective:

This SOP describes the process of entry and exit into and from the microbiological laboratory.

- Scope:

This SOP covers the movement of materials and personnel into and from the microbiological laboratory.

3.0 Responsibility/accountability:

Microbiologist, Quality Assurance Manager and the Superintendent Pharmacist

4.0 Abbreviations and Definitions

N/A

- Procedure

GENERAL:

-	It should be observed/assumed that samples and microorganism with which you work in the microbiological laboratory are capable of causing illness and disease. Great care should therefore be taken in handling cultures, slides and all materials that may have been in contact with living organisms.

Entry

- When entering into the microbiology laboratory all necessary PPE must be worn.

- Clean and disinfect your hand from elbow down with soap and disinfectant.

- All samples entering the microbiology laboratory must be properly covered and always close the door after you when entry into the microbiology laboratory.

- Once inside the laboratory follow good laboratory practice at all time.

- Do not eat, drink, smoke or suck any food, liquid in the microbiology laboratory.

- Never moist or pipette any substance with your mouth in the laboratory.

- Container properly covered with aluminum foil to prevent contamination.

- Any used substance e.g. cotton wool, must be properly dispose of in the waste container.

- Never leave anything exposed on the floor or working table.

Exit

- All contaminated materials should be disinfected before proper washing and sterilization.

- Before exit any culture split on the floor or bench should be swabbed immediately with

Cotton wool soaked in disinfectant solution and properly disposes off in the waste container.

- Remove gloves, nose mask and dispose of them.

- Wash your hands with soap and disinfectant.

- Remove coats, cap, and place them in respective places.

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |