- Objective:

To provide written guidelines for cleaning and Operation of Refrigerator.

- Scope:

This SOP covers the process of cleaning and Operation of Refrigerator.

- Responsibility/accountability:

Laboratory Assistant, Quality Control Chemist, Quality Control Microbiologist, Quality Assurance Manager, Supt. Pharmacist.

4.0 Abbreviations and Definitions

N/A

- Procedure

Cleaning Procedure:

- Put off the main switch.

- Remove all materials (containers) from the refrigerator and carefully store them in air condition room

- Defrost the refrigerator.

- Mop the inner surface of the refrigerator with water.

- Dry mop the refrigerator and then clean it with soap solution.

- Again mop it with water and clean with dry cloth.

- Switch on the refrigerator and allow the temperature to attain a constant value.

- Transfer all the containers back into the refrigerator.

- Cleaning is to be done once in a quarter

- After cleaning, record it in Cleaning Logbook (BML-QDF-MC-010-F01).

- Check the temperature and record it

Operation Procedure

- Connect the plug to the main switch.

- Turn on the Refrigerator.

- Set the thermostat for cooling temperature.

- The reagent/ Media must be placed in the Refrigerator properly.

- The reagent / Media must be covered properly to avoid contaminations.

- Gently close the door of the refrigerator and key after each use.

- After every usage, Record in the Refrigerator Usage Logbook (BML-QDF-MC-010-F01).

PRECAUTIONS:

- Unplug the electrical appliance before cleaning.

- Do not open the door more often than necessary to maintain the normal temperature.

- All electrical repairs must be done by qualified electricians

Materials, Equipment, Apparatus and Reagents

- PPE

- Soap solution

- Lukewarm water

6.0 REFERENCE/ENCLOSURE

ENCLOSURE 1- REFRIGERATOR CLEANING LOGBOOK- (BML-QDF-MC-010-F01).

ENCLOSURE 2- REFRIGERATOR USAGE LOGBOOK- (LGB-QDF-MC-010).

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |