- Objective:

To provide written guidelines for the Test for progeny of the infusions, raw materials according to the B.P 2024 Specifications.

- Scope:

This procedure is applicable for the Test for progeny of the infusions, raw materials according to the B.P 2024 Specifications.

- Responsibility/accountability:

The Quality Assurance Manager, Microbiologist, The laboratory Assistant and the operators in Pyrogenic Laboratory.

4.0 Abbreviations and Definitions

N/A

- Procedure

- Draw out the required number of rabbits from their living room according to the number of tests planned. Always select more rabbits than actually required to counter any exclusion of animals in the initial measuring.

- All the rabbits which are to be used for the test should be more than 1.5kg weight, should be healthy and must not have been used for any test in previous three days and in previous three weeks if any test failed using that rabbit. Do not ever use a pregnant rabbit.

- Put the selected rabbits to testing cages. Take the initial temperature of each rabbit by inserting the thermometer to the anus of the rabbit to a depth of about 5cm.

- If the initial temperature is less than 38.80c or more than 39.8 oc exclude the animal from the test.

- Ensure all the glassware, needles and syringe are washed with water for injection and dehydrogenated by dry heat at 250c for 30min or at 200c for 60 minutes.

PERFORMING THE TEST

- Take another two reading of temperature in 30 min intervals.

- Any rabbits showing more than 0.20c temperature difference between two successive readings in the last three readings can be excluded from the test.

- Calculate the initial temperatures of the animals by taking the average of the temperature readings taken in the last 40 minutes.

- Arrange the same sex of rabbits into groups of three taking into consideration that the initial temperature of the rabbits in a group should not differ by more than 10c.

- Inject the solution intended to be tested to the marginal veins of the rabbits of a group slowly but not exceeding 4 minutes. The quantity of test solution depends upon the body weight of the rabbits and the test solution is described in the annexure of this SOP.

- If the substance to be tested is not in aqueous sterilized solution form, consult the official monograph regarding the preparation of simulating solution and the volume of the preparation to be injected.

- After injecting the solution, take the temperature readings after every 30 minutes up to 3 hours and record it in the appropriate book.

RESULT/ SPECIFICATION

The sum response of the temperature difference of 3 rabbits should be less than or equal to 1.15oC.

The maximum volume of injection per kg body weight of rabbits to be given for the progeny test for some commonly tested products

N.B:    If the product to be tested is not any of the following, please consult the QA Manager for the detailed program of the test.

| S/No | PRODUCT BEING TESTED | MAXIMUM VOLUMEOF INJECTION PER KG BODY WEIGHT OF RABBIT |
| --- | --- | --- |
| 1. | 5% Dextrose in water infusion | 10.0ml |
| 2. | 5% in 0.9% saline infusion | 10.56ml |
| 3. | 4.3% Dextrose in 0.18% Saline infusion | 12.00ml |
| 4. | 0.9% Sodium Chloride infusion | 11.11ml |
| 5. | 10% Dextrose in Water infusion | 5.00ml |
| 6. | 50% Dextrose in water infusion | 1.0ml |
| 7. | 10% Mannitol infusion | 5.00ml |
| 8. | 20% Mannitol infusion | 2.50ml |
| 9. | Darrow” s solution Half Strength | 10.00ml |
| 10. | Darrow” s solution full Strength | 5.00ml |
| 11. | Ringer Lactate infusion | 5.00ml |
| 12. | Metronidazole Infusion | 10.00ml |

- Record the activity/values of the Finished products Pyrogen results in the various products forms.

| S/no | Product | Sterility Test Result Form No. |
| --- | --- | --- |
| 1 | Darrows full solution | BML-QA-STP-FPF-008-F07 |
| 2 | Isoplasma 4% solution | BML-QA-STP-FPF-014-F07 |
| 3 | Normal Saline (500ml) | BML-QA-STP-FPF-001-F07 |
| 4 | Dextrose 5% solution (500ml) | BML-QA-STP-FPF-003-F07 |
| 5 | Dextrose 5% Saline solution (500ml) | BML-QA-STP-FPF-002-F07 |
| 6 | Dextrose 4.3% saline | BML-QA-STP-FPF-012-F07 |
| 7 | Dextrose 10% solution | BML-QA-STP-FPF-013-F07 |
| 8 | Darrows half solution | BML-QA-STP-FPF-007-F07 |
| 9 | Mannitol 10% | BML-QA-STP-FPF-010-F07 |
| 10 | Mannitol 20% | BML-QA-STP-FPF-011-F07 |
| 11 | Ringers solution | BML-QA-STP-FPF-009-F07 |
| 12 | Biogyl solution | BML-QA-STP-FPF-015-F07 |
| 13 | Dextrose 50% solution | BML-QA-STP-FPF-018-F07 |
| 14 | Ciprofloxacin solution | BML-QA-STP-FPF-016-F07 |
| 15 | CAPD solution (1.5%) | BML-QA-STP-FPF-019-F07 |
| 16 | Fluconazole solution | BML-QA-STP-FPF-017-F07 |
| 17 | Normal Saline Solution (1000ml) | BML-QA-STP-FPF-004-F07 |
| 18 | Dextrose 5% solution (1000ml) | BML-QA-STP-FPF-006-F07 |
| 19 | Dextrose 5% Saline solution (1000ml) | BML-QA-STP-FPF-005-F07 |
| 20 | CAPD solution (1.5%) | BML-QA-STP-FPF-020-F07 |

6.0 REFERENCE/ENCLOSURE

BP 2024

PYROGEN TEST RESULT FORMS- BML-QA-STP-FPF-(001…..020)-F07

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |

p