- Objective:

To provide written guidelines for microbial test on used membrane filter.

- Scope:

This SOP covers the microbial test on used membrane filter.

3.0 Responsibility/accountability:

Laboratory assistant, Microbiologist

4.0 Abbreviations and Definitions

- LAF – Laminar air flow

- WFI  --- water for injection

- TSA--- Tryptone soy agar

- SDA --- Sabouraud Dextrose agar

- EMB --- Eosin methylene blue agar

5.0 Procedure

Total viable count

- Use a pre sterilized conical flask, sample water for injection as per sop for sampling of water

- Transfer to the laboratory

- Aseptically, collect the used membrane from the point from the filling unit and place in a sampling box then transfer to the laboratory

- Under LAF, aseptically dip the filter inside the sterile WFI water and allow to stand for 15 mins

- pipette 1ml of the aliquot into the labelled sterile petri plates and flood it with the TSA, SDA and EMB media respectively, swirled and allow to set

- Prepare a negative control by pipetting 1ml of the sterile WFI in petri dish and pour 15 to 20ml of the sterile media and incubate all inoculated plates inertly at 30 – 35oc for 24-48hours for TSA and EMB plates and 20 – 25oc for 72 hours for SDA plates.

REPORTING

The growth on TSA and SDA should not exceed limit of 10 cfu/ml if any, and there must be absence of pathogens.

Materials And Equipment:

- Sterile petri dishes, conical flask, test tube

- TSA, SDA and EMB

- WFI

- LAF

- Aluminum foil

- Incubator

- Oven

- Autoclave

6.0 REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| Quality Assurance Manager | Quality control head |
| --- | --- |
| Quality Microbiology staff | Laboratory assistant |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | MICROBIOLOGY LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 05 | ### 04 | To Update |
| ### 06 | ### 05 | - Inclusion of enclosures format - Change in sop format generally |