- OBJECTIVE:

To provide written guidelines for Sampling and Analysis of In-Process Products

- SCOPE:

This SOP covers the procedure for Sampling and analysis of In-Process Products

- RESPONSIBILITY/ACCOUNTABILITY:

- The Chemical Analyst and IPQA officer shall carry out the activities described in this SOP

- Quality Control Head to enforce proper follow up of the SOP and review the result.

- The Quality Assurance Manager reviews results and approve the records.

4.0 ABBREVIATIONS AND DEFINITIONS

N/A

- PROCEDURE

Sampling

- Upon receipt of intimation or notices from production department for sampling of in-process, proceed to sample with adequate sampling tools

- Ensure the BMR documentation for the batch up to stage is completed

- Sample adequate in-process sample quantity sufficient for minimum of two analysis (about 100ml)

- Keep sample safe till point of analysis.

Analysis

- After sampling, proceed for analysis as per the standard testing procedure. Std Ref. No.:

- Ensure all reagents, chemicals and solutions for analysis are available and in good condition

- If volumetric solutions are required for analysis, ensure the standard factor is current by checking the reagent preparation register for its validity.

- After each analysis, record the report if satisfactory in the In- Process analytical record sheet and same in the BMR.

- If result is not within specification repeat the analysis, and if still not satisfactory notify the QA Manager for necessary actions.

Materials, Equipment, Apparatus and Reagents

PPE

Safety, Health and Environment Precaution

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

In House

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |