- OBJECTIVE:

To provide written guidelines for cleaning and operation of Heating Mantle

- SCOPE:

This SOP covers the procedure for cleaning and operation of Heating Mantle

- RESPONSIBILITY/ACCOUNTABILITY:

- The Chemical analyst shall use the equipment efficiently and with safety

- The chemical analyst must ensure that the equipment is kept clean

- The user reports any equipment malfunction.

- The Quality Control Head ensures external calibration is carried out as scheduled

4.0 ABBREVIATIONS AND DEFINITIONS

- Nil

- PROCEDURE

Cleaning Procedure:

- Disconnect from the power source.

- Clean the surface of the heating mantle with clean, soft cloth

Operation Procedure

- Connect the switch to main electrical supply.

- Set the thermostat to the desired temperature.

- Ensure that heating material is properly arranged on the heating mantle

- Switch off from the main electricity supply when finished.

Materials, Equipment, Apparatus and Reagents

- PPE

- REFERENCE/ENCLOSURE

- Heating mantle instruction manual.

- TRAINING INVOLVEMENT

| Quality Control Head | Chemical Analyst |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |