- OBJECTIVE:

To provide written guidelines for cleaning and operation of Magnetic Stirrer

- SCOPE:

This SOP covers the procedure for cleaning and operation of Magnetic Stirrer

- RESPONSIBILITY/ACCOUNTABILITY:

- The Chemical analyst shall use the equipment efficiently andwith safety

- Users must ensure the equipment is kept neatly.

- The user shall report any equipment malfunction as at the time of use.

4.0 ABBREVIATIONS AND DEFINITIONS

- Stirrer: A mechanical device which has a rotating magnet underneath a plate that controls a magnetic bar and causes it to spin at high speeds.

- PROCEDURE

Cleaning Procedure

  - Switch off the Magnetic hot plate

  - Clean the machine with soft and clean cloth

  - Check the electric cord if it is properly fixed

Operation

- Ensure that the instrument is clean and free from any dust particle.

- Connect the main supply of the instrument.

- Switch ‘on’ the instrument.

- If required adjust the required temperature by temperature ‘knob’.

- Keep the beaker (Containing Sample) on the plate and wait for heating.

- Dip the magnetic stirrer in a beaker and start the stirring by the knob.

- Stirring speed should be control by ‘knob’ to slow, middle and high.

- Switch ‘off’ the instrument after completion of work

Precautions
 Never keep the heater in ‘on’ condition, when not in use.

Materials, Equipment, Apparatus and Reagents

- PPE

Safety, Health and Environment Precautions

- Be prompt to clean any chemical spillage

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

- Labtech Magnetic stirrer manual

- TRAINING INVOLVEMENT

| Quality Control Head | Chemical Analyst |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |