- Objective:

To provide written guidelines for Cleaning and Operation of stability chamber

- Scope:

This SOP covers the procedure for Cleaning and Operation of the stability chamber.

- Responsibility/accountability:

- The Chemical analyst shall safely and properly handle the equipment.

- The user reports any deviation or equipment malfunction.

- The equipment user must ensure that the equipment is always kept balanced and clean.

- The Quality control Manager ensures external calibration is carried out as scheduled

4.0 Abbreviations and Definitions

- Climatic chamber: A climatic chamber is an enclosure used to test the effects of specified environmental conditions on biological items, industrial products and materials.

- Procedure

Cleaning:

- Ensure the power supply for the stability chamber is switched ‘OFF’

- Wipe the meter with a dry lint-free cloth.

- Clean the vial with water and then with IPA, to remove dirt.

Operation

- Ensure the stability chamber is properly connected to the power supply.

- Check the water level of the humidification evaporator water tank at the back of the machine, ensure that the tube is immerse in the water.

- Turn ‘ON’ the power switch of the device.

- Set the temperature and humidity parameters to be run.

- The temperature limit setting value ≥ SV + (5-10) 0C.

- Use the            and                buttons on the panel setting dial.

- Then press ‘START’

- Record activities in the climatic chamber LGB/QCS/CL/025/01

| Date | Name | Description (Lot/Batch No) | Time in | Time out | Remark (equipment status) |
| --- | --- | --- | --- | --- | --- |

Precaution

- Pay attention to the water level of the tank not lower than the minimum water level (use purified water).

Materials, Equipment, Apparatus and Reagents

- Thermometer

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

    - Risahabh stability chamber instruction manual.

- TRAINING INVOLVEMENT

| Quality Control Head | Chemical Analyst |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |