- OBJECTIVE:

To provide written guidelines for cleaning and sanitization of Microbiological glassware.

- SCOPE:

This SOP covers the process of cleaning sanitization of Microbiological glassware used in the Microbiology Laboratory.

3.0 RESPONSIBILITY/ACCOUNTABILITY:

- Laboratory Attendant/Microbiologist ensures the cleaning and sanitation of the glassware.

- Quality Control Head adheres strictly to this procedure.

- The quality Manager ensures this procedure is follows.

4.0 ABBREVIATIONS AND DEFINITIONS

- Sterilization: This is a process of complete destruction or killing of microorganisms or any form of living cell.

- PPE: Personal Protective Equipment.

- IPA: Isopropyl Alcohol.

- PROCEDURE

- Clean the glassware with plastic brushes and liquid detergent solution.

- After cleaning, rinse the glassware with water until no trace of detergent is observed.

- Do final rinse using 70% Isopropyl Alcohol with water for injection. (WIF)

- Arrange the cleaned glassware on the glassware rack and ensure it is not in a position for it to fall off.

- Before use, all objects should be sterilized at 1210c for 15-20mins and put it inside oven for dry heat sterilization at 1600c to 1700c for 2 to 2 hours 30 mins.

- Ensure the laboratory sink is Clean after cleaning the glassware.

Materials, Equipment, Apparatus and Reagents:

- PPE

- Hand gloves

- 70% IPA

- Nose Mask

- Plastic brush

- Autoclave

- Glass wears

- oven

- REFERENCE/ENCLOSURE

- Nil

- TRAINING INVOLVEMENT

| Quality Control Head | Microbiologist, Laboratory assistance |
| --- | --- |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | QUALITY CONTROL LABORATORY |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| ### 00 | ### Nil | First issue |
| ### 02 | ### 01 | To Update |
| ### 03 | ### 02 | - Inclusion of enclosures format - Change in sop format generally |