- Purpose

- To outline the procedure for cleaning and operating the microscope to ensure accurate results and maintain the equipment in a sterile and functional condition.

- Scope

- This SOP applies to all personnel involved in the use and maintenance of microscopes within the pharmaceutical laboratory.

- Responsibilities

- Laboratory Assistant/Quality Control Microbiologist: Responsible for following the SOP for cleaning and operating the microscope.

- Quality Assurance Manager: Ensures compliance with the SOP and performs regular audits.

- Maintenance Team: Responsible for performing repairs and servicing as required.

- Definitions

- Microscope: An optical instrument used for viewing very small objects, such as mineral samples or biological cells, typically magnified several hundred times.

- Sterile: Free from bacteria or other living microorganisms; totally clean.

- Materials and Equipment

- Microscope

- Lens cleaning paper

- Lens cleaning solution (non-abrasive)

- Cotton swabs

- Clean, lint-free cloth

- Gloves

- Isopropyl alcohol (70%)

- Procedure

  - Pre-Operational Checks

- Visual Inspection:

- Check the microscope for any visible damage.

- Ensure that all lenses are intact and clean.

- Confirm that the light source is functional.

    - Calibration:

- Ensure that the microscope is calibrated as per the manufacturer's instructions.

- Verify the calibration with a standard reference slide.

  - Operation

- Starting the Microscope:

- Turn on the light source and adjust the intensity to a comfortable level.

- Place the specimen on the stage and secure it using stage clips.

- Focusing:

- Use the coarse adjustment knob to bring the specimen into focus.

- Fine-tune the focus with the fine adjustment knob for a clearer image.

- Magnification:

- Select the desired objective lens to adjust magnification.

- Ensure proper alignment of the objective lens with the light path.

- Viewing and Recording

- Observe the specimen and document findings as required.

- Capture images using a camera attachment if necessary.

  - Cleaning After Use

- General Cleaning

- Turn off the microscope and unplug it from the power source.

- Remove the specimen and clean the stage with a clean, lint-free cloth.

- Wipe down the microscope body with a cloth slightly dampened with isopropyl alcohol.

- Lens Cleaning:

- Use lens cleaning paper and a non-abrasive lens cleaning solution to gently clean the lenses.

- Avoid using excessive pressure to prevent scratching the lenses.

- Disposal:

- Dispose of all used cleaning materials as per the lab's waste disposal guidelines.

- Storage

- Cover the microscope with a dust cover when not in use.

- Store in a dry, clean environment.

- Precautions

- Always handle the microscope with care to avoid damage.

- Wear gloves when handling the microscope and cleaning the lenses.

- Do not use abrasive materials for cleaning lenses.

- Avoid direct exposure of the microscope to sunlight.

- Documentation

- Log all microscope use in the equipment logbook.

- Record any maintenance or issues encountered during use.

- References

- Manufacturer’s manual for the microscope.

- Internal calibration SOP.

- Training Requirements

- On relevant SOP’s

- On good cleaning practices

- On cGMP

- On good documentation practice.

- Distribution:

- Microbiology laboratory:  To ensure compliance

- Controlled copy:  To be displayed in the micro laboratory

- Master copy:  To be kept with the Quality Assurance Manager