- Objective:

- To provide information on how to de-fumigate the clean area after 24hrs.

- Scope:

-	To provide written guidelines for effective de-fumigation of the clean area.

3.0 Responsibility/accountability:

- Clean Area Supervisor, Microbiologist, Technical Manager, Quality Assurance

4.0 Abbreviations and Definitions

N/A

- Procedure

DE-FUMIGATION

- After 24hours of fumigating, the Technical Department begins de-fumigation by opening the exhaust of the Air Handling Unit.

- Start the air handling unit with the exhaust opened.

- Wait for one hour and check if there are no fumes inside the area.

- Wear protective garments, hand gloves and nose mask. Enter the area and at once, collect the bowls exposed and wash them with plenty water.

- Remove the Aluminum foils wrapped around the open lines and machine nozzles.

- Remove the labels of fumigation from the entrances.

SAFETY, HEALTH AND ENVIRONMENTAL PRECAUTIONS:

- Always wear protective coverings and hand gloves while handling formaldehyde.

- After addition of potassium permanganate to formaldehyde, there happens effervescence. Be prompt to leave the particular place before this.

- REFERENCE/ENCLOSURE

British Pharmacopeia

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 02 | ### 01 | ### July 2022 |  |
| ### 03 | ### 02 | ### July 2024 | - Inclusion of enclosures format - Change in sop format generally |