- Objective:

To assess the level of atmospheric microorganisms in Clean Area

- Scope:

This SOP describes the process of assessing the level of atmospheric microorganisms in Clean Area.

3.0 Responsibility/accountability:

QA Officer, Microbiologist, Quality Assurance Manager

4.0 Abbreviations and Definitions

N/A

- Procedure

- The work bench and the Laminar Flow Cabinet should be disinfected with 70% ethanol Sterile nutrient agar, sabouraud dextrose agar and Eosin Methylene blue agar should be poured aseptically into different sterile Petri-dishes and allowed to solidify or set.

- Plates should be labeled accordingly

- Expose each of the plates containing the solidified agar at different locations of the Clean Area to be assessed for at least one hour.

- The plates containing Nutrient agar and Eosin Methylene Blue agar should be incubated upside down in an incubator at 35 – 37°C for 24-48 hours while that containing sabouraud dextrose agar should be incubated at 20-25°C for 72 hours.

Reporting

This should be done if the Microbial level of the area is confirmed high or above the

stated limit.

Materials and Equipment

- Sterile Petri dishes

- Sterile nutrient agar, sabouraud dextrose agar and Eosin Methylene blue.

- 70% Ethanol

- Cotton Wool

- Laminar Flow Cabinet

- Incubator

- Bunsen burner

Corrective Action

Fumigation exercise should be done immediately.

- REFERENCE/ENCLOSURE

In House

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 02 | ### 01 | ### July 2022 | To update |
| ### 03 | ### 02 | ### July 2024 | - Inclusion of enclosures format - Change in sop format generally - To update |