- Objective:

The objective of this SOP is to describe the procedure to be followed when results for procedures, analysis go out of the specification as stipulated by the standard reference.

- Scope:

To provide written guidelines be followed when an out of Specification has been discovered.

3.0 Responsibility/accountability:

Quality Assurance officer, Chemist, Microbiologist, Technical Manager, Production Pharmacist, Production Manager, Quality Assurance Manager and Superintendent Pharmacist.

- Abbreviations and Definitions

N/A

- Procedure

- If Sterility, Pyrogen or Chemical test(s) results of a product or raw materials falls out of specification, the product should be quarantine while further tests are conducted.

- If in case of a product, old passed samples are to be tested along with the OOS product using same instrument, method, and reagents.

- If it’s a raw material reference standard should be tested along with the OOS material.

- If results of product persistently falls out of specification on further analysis, another analyst is to re- analyzed the sample.

- After trough analysis, if the product is still failing, an external analyst is contracted for further analysis.

- If result from the external analysis fails, the defective batch is rejected and transfer to the reject room.

- pouch of the affected batch is taken and the defective pouches is rejected

- If filled volume falls out of specification the weight in relation to the volume of every pouch of the affected batch is taken and the defective pouches rejected.

- All rejected products are to be destroy after due approval has been obtained. Destruction report must be prepared for all destroyed product.

- If in the process of testing it was discovered that the process is defective, a complete process validation is initiated and carried out.

- REFERENCE/ENCLOSURE

N/A

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 02 | ### 01 | ### July 2022 | To update |
| ### 03 | ### 02 | ### July 2024 | - Inclusion of enclosures format - Change in sop format generally - To update |