- Objective:

- To provide written guidelines for monitoring of cold room.

- Scope:

- This SOP describes the procedure to be followed for cold room monitoring.

- Responsibility/accountability:

- Q.A. Officer, Store Officer/Manager, Production Manager, Quality Assurance Manager and Superintendent Pharmacist/Factory Manager

4.0 Abbreviations and Definitions

N/A

- Procedure

- Maintain clean environment always.

- Arrange raw materials on pallets always 6” inches away from the wall.

- Keep only thermo labile raw materials in the cold room.

- Ensure thermo labile raw materials are kept in air-tight well-screwed containers.

- Ensure to check the temperature and relative humidity always.

- Close the door always when in use.

- Restrict access to only authorized personnel (QA and storekeeper)

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |