- Objective:

To provide written guidelines for calibration of fume Cupboard

- Scope:

This SOP covers the procedure for calibration Fume cupboard

- Responsibility/accountability:

Quality Assurance Officer, Chemical Analyst, Quality Assurance Manager and Superintendent Pharmacist.

4.0 Abbreviations and Definitions

N/A

- Procedure

Cleaning

- Clean the interior and exterior surfaces and sash periodically

- After spills using deionized water; wipe the areas down a soap solution and rinse

Preparing for the hood work

- Observe noise and air movement to indicate proper operation

- Work must be performed with the sash at or below the mark at which the fume hood was certified

- All work must be performed at least 5 inches inside the hood

- The sash must be lowered completely when not in use

Operation

- Activate the power button

- Keep the sash in the lowest possible position

- Do not block airfoil with equipment, paper towels and absorbent below the sash for effective air flow

- Minimize foot traffic in front of the hood while working

- Keep items in the fume hood to an absolute minimum and only that which is immediately necessary

- Do not use fume hood as general storage locations for chemicals or equipment

- Switch off from the main electricity supply 30 minutes after use

Materials, Equipment, Apparatus and Reagents

- PPE’s

- Soap

- Demineralized water

Safety, Health and Environment Precautions

- Wear appropriate PPE

- Be prompt to clean any chemical spillage

- REFERENCE/ENCLOSURE

IN-HOUSE

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |