- Objective:

To describe the procedure to be followed in calibration of Bucket Autoclave

- Scope:

To provide written procedure for calibration of Bucket Autoclave

- Responsibility/accountability:

lab attendant, Q.C chemist, Microbiologist, Q.A Officer, Quality Assurance Manager.

4.0 Abbreviations and Definitions

N/A

- Procedure

4.0 CALIBRATION PROCEDURE:

- Ensure that the equipment is placed in appropriate place

- Check the bolt of the Autoclave whether is intact

- Check the Air cock of the Autoclave

- Check the pressure gauge.

- Fill the bucket autoclave with water, make sure it cover the element

- Put the thermometer and autoclave tape together with media to be sterilized

- Put on the autoclave, allow the thermo gauge to reach 121oC and leave it for 15 minutes

- Put off the autoclave

- Leave the autoclave to naturally cool down.

- Observe autoclave tape for sterilization readings and report any lapses to QA Manager

Materials, Equipment, Apparatus and Reagents

- Thermometer

Safety, Health and Environment Precautions

- Wear appropriate PPE

- REFERENCE/ENCLOSURE

Equipment manual

- TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff |  |

8.0 DISTRIBUTION AND DOCUMENTATION CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 REVISION HISTORY

| CURRENT REVISION | SUPERSEDE | REVIEW DATE | REASON FOR REVIEW |
| --- | --- | --- | --- |
| ### 00 | ### Nil | ### Nil | First |
| ### 01 | ### 00 | ### Jan 2024 | - Inclusion of enclosures format - Change in sop format generally |