BIOMEDICAL LIMITED

# INSTALLATION QUALIFICATION (IQ)

# REPORT

# FOR

# AIR SHOWER

EQUIPMENT SR. NO. –

EQUIPMENT ID. –

LOCATION – INFUSION FACTORY FILLING ROOM

REPORT No. – BML/PDF/FR/RP/26/001

PROVIDED BY:

BIOMEDICAL LIMTED

KWARA STATE, NIGERIA

# TABLE OF CONTENT

Cover Page											1

Table of content										2

REPORT Pre-Approval Sheet								3

Objective											4

Scope											5

Responsibilities and Qualification team							5

Equipment Identification and Description							5-6

Prerequisite										6

Abbreviations and definitions								6

References											7

Equipment installation Checklist								7-9

Installation Qualification Report								10

Deviation Report										11

Conclusion											12

List of attachments										12

Report Approval										13

- REPORT FORMAT APPROVAL:

Signatures in this page indicate that this document and its format have been prepared, checked and approved by the personnel concerned. It shall be signed and dated as shown below.

|  | WRITTEN BY: | REVIEWED BY: |
| --- | --- | --- |
| Signature |  |  |
| Position |  |  |
| Date |  |  |

|  | APPROVED BY: | AUTHORISED BY: |
| --- | --- | --- |
| Signature |  |  |
| Position |  |  |
| Date |  |  |

2.0 OBJECTIVE

The purpose of the study is to ensure proper installation of the four AIR SHOWER at THE FILLING ROOM, INFUSION FACTORY, BIOMEDICAL LIMITED.

This study verifies:

- Qualification of the equipment, re installation and to ensure that all background information is performed to assure conformance to BIOMEDICAL LIMITED and manufacturer’s specifications.

- The equipment meets the current good manufacturing practices requirements and all other regulatory obligations

- No unauthorized or unrecorded modifications have taken place.

- Operation procedures/preventive maintenance procedures have been identified and listed.

- All critical instrumentation has been identified

- All utilities are properly connected

- All safety features are accounted for

- All relevant data gave have been checked

3.0 SCOPE

- This REPORT is applicable in carrying out the installation qualification of the Air Shower at the Infusion manufacturing site, Biomedical Limited, Kwara State.

- To be performed after the completion of the design qualification

- To be performed at the time of relocation.

4.0 RESPONSIBILITIES AND QUALIFICATION TEAM

The following departments shall be involved in:

| RESPONSIBILITY | DEPARTMENT |
| --- | --- |
| Provision of needed utility and machine installation | Engineering Team |
| Review of the Installation Qualification Document | Head Of Engineering |
| Final Documentation and system acceptability | QA –Manager |
| Authorization | Superintendent Pharmacist/factory Manager |

The following personnel will be involved in the execution of the Qualification

| S/No. | DEPARTMENT | NAME | SIGNATURE |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

5.0 EQUIPMENT IDENTIFICATION AND DESCRIPTION

IDENTIFICATION

| Equipment Name | AIR SHOWER |
| --- | --- |
| Manufacturer’s Name | SHANGAI IVEN PHAMATECH ENGINEERING CO. LTD (CHINA) |
| Supplier’s name | SHANGAI IVEN PHAMATECH ENGINEERING CO. LTD (CHINA) |
| Location of Installation | FILLING ROOM (INFUSION FACTORY) |

DESCRIPTION:

………………………………………………………………………………………………………………………………………………..………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………....................................................................................................................................……………..

6.0 PREREQUISITE

The equipment shall confirm the specifications and requirements as specified in the Design Qualification

| S/N | ACCEPTANCE CRITERIA |
| --- | --- |
| 1 | User Requirement specification |
| 2 | Design Qualification |

7.0 ABBREVIATIONS AND DEFINITIONS

| Abbreviation | Definition |
| --- | --- |
| SOP | Standard Operating Procedure |
| MOC | Material of Construction |
| HMI | Human Machine Interface |
| ENGR | Engineering |
| IQ | Installation Qualification |
| QA | Quality Assurance |
| VAC | Voltage Alternating Current |
| S. S | Stainless Steel |
| LTD | Limited |
| V | Voltage |
| GMP | Good manufacturing practices |
| AC | Alternating Current |
| Amps | Ampere |
| W | Watt |
| SMPS | Switched mode power supply |
| VDC | Voltage Direct Current |
| DC | Direct Current |
| PVC | Polyvinyl Chloride |
| MCB | Miniature Circuit Breaker |

8.0 REFERENCES:

The list of reference documents, which are referred for preparation and review of this document, is as follows: -

- S.O.P for Installation, Operation & Performance Qualification of equipment & Instrument: BML-QDG-QA-111

- Machine Manual supplied by SHANGAI IVEN PHAMATECH ENGINEERING CO. LTD (CHINA)

- Design Qualification supplied by SHANGAI IVEN PHAMATECH ENGINEERING CO. LTD (CHINA)

9.0 EQUIPMENT INSTALLATION CHECKLIST:

Pre-Installation Consideration

| S/N | Description | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- |
| 1 | There is no observable physical damage to the equipment surface and all the contact parts are free from scratches & damages. |  |  |  |
| 2 | Sufficient room for servicing, handling & maintenance is provided (around the machine) |  |  |  |
| 3 | Check the floor space. It should not be inclined. |  |  |  |

Utilities

| S/N | Description | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- |
| 1 | Power Requirement (AC380V/50Hz/2.5KW) |  |  |  |
| 2 | Adequate illumination at the Proposed Machine area |  |  |  |
| 3 | Proper Earthing System available |  |  |  |

Equipment compliance

| S/N | Description | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- |
| 1 | Air Shower name plate present |  |  |  |
| 2 | Air Shower Dimension (Outer diameter: W1290*D1500*H2180mm, Inner diameter: W790*D1360*H1930mm) |  |  |  |
| 3 | Air Shower Model No. present (FLS-1290-1500-2180) |  |  |  |
| 4 | MOC: SUS304 |  |  |  |
| 5 | Air Shower Serial Number Present (FLS2402430-05/ FLS2402430-06/ FLS2402430-07/ FLS2402430-08) |  |  |  |

Safety compliance

| S/N | Description | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- |
| 1 | All external surfaces are free of sharp edges. |  |  |  |
| 2 | Light indicator is available |  |  |  |
| 3 | Emergency Stop Buttons available |  |  |  |

Electrical diagram check

| S/N | Description | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- |
| 1 | Verify the electrical panel wiring diagram |  |  |  |
| 2 | Check whether the position of each component in the electrical is correct |  |  |  |
| 3 | Check whether the wiring of the electrical panel is consistent with electrical diagrams |  |  |  |
| 4 | Check if the electrical diagram is attached to the operation manual |  |  |  |

List of Main Components with their material of construction

| S/N | Component | Origin/ Configuration | Qualified / Not Qualified | Checked By | Verified By |
| --- | --- | --- | --- | --- | --- |
| 1 | Main Frame | IVEN China, S.S 304 |  |  |  |
| 2 | Centrifugal blower | Model: EDF-240, Motor power: 1.1kW, three phase, Voltage: 380/50Hz, Blade material: SS, Traffic: 2550m3/hr., Rotational Speed: 2840r/min |  |  |  |
| 3 | Air nozzles | 18 pieces (Adjustable), MOC: SS304 |  |  |  |
| 4 | Pre-filter | Model: G4 |  |  |  |
| 5 | Lighting | 18w Flush LED Bulb (square) |  |  |  |
| 6 | HEPA | IVEN China, Class: H14 Filter Efficiency: 99.99%@MPPS, Particle Size: 0.3μm Dimension: 610X610X100mm |  |  |  |
| 7 | Air Interlock | Electromagnetic lock |  |  |  |
| 8 | Door | Manual swing door, transparent tempered glass type, with door closer |  |  |  |
| 9 | Emergency button | 220vac |  |  |  |
| 10 | Infrared Sensor | 220VAC |  |  |  |
| 11 | Air shower control panel | China, Model: FLS2A18-L01 V1.0 |  |  |  |
| 12 | Circuit Breaker | Manufacturer: Chint, Model: NXB-63 D25. 400V, 50HZ 6000A. 4- Poles |  |  |  |
| 13 | Contactor | Manufacturer: Chint, Model: CJX2-1210 |  |  |  |

10.0   INSTALLATION QUALIFICATION REPORT:

Attachment of all reports written as:

#Attachment 1

#Attachement 2 etc.

Date of Installation:

Date of Completion:

11.0 DEVIATION REPORT

Prepare a Deviation report including the justification of acceptance and impact on the function of the system/equipment

DEVAITIONS:

JUSTIFICATION FOR ACCEPTANCE:

IMPACT ON OPERATION:

Written By:										Date:

Reviewed By:										Date:

Approved By:										Date:

12.0 CONCLUSION

13.0 List of Attachment

Attach all completed, signed data record forms

14.0 REPORT APPROVAL

Written By:										Date:

Reviewed By:										Date:

Approved By:										Date: