List of Major Quality Control/Quality Assurance Equipment

| Equipment | Make | Model | Identification code | Operation and calibration SOP |
| --- | --- | --- | --- | --- |
| UV Spectrophotometer | Equiptronics India | 752N | BL/EQ/QAE/001 |  |
| Auto Polarimeter 1 | Equiptronics India | EQ 805 | BL/ EQ /QAE/002 |  |
| Analogue Polarimeter 2 | Equiptronics India | EQ 801 | BL/ EQ/QAE/003 |  |
| Flame Photometer | Equiptronics India | EQ 855A | BL/ EQ /QAE/004 |  |
| ANALYTIC Analytical weighing balance | OhausOhaus Corporation, USA | AR1530 | BL/ EQ /QAE/005 |  |
| Viscometer | Viscolead,china | NDJ-5S | BL/ EQ /QAE/006 |  |
| Digital pH meter 1 | Hanna Instruments Italy | 211 | BL/ EQ /QAE/007 |  |
| Digital Conductivity meter | Jenway, England | DDS -307 | BL/ EQ /QAE/008 |  |
| Hand Held Conductivity Meter | Exact Instrument, China | CT -3033 | BL/ EQ /QAE/009 |  |
| Hand Held pH Meter | Hanna intrumemts,China | PH211 | BL/ EQ /QAE/010 |  |
| Melting Point Apparatus | Beamex,UK | TC303 | BL/ EQ /QAE/011 |  |
| Water bath | Surgi Medicals, England | XMTD-8222 | BL/ EQ /QAE/012 |  |
| Fume cupboard | Labtrade ,Nigeria | BIDI | BL/ EQ /QAE/013 |  |
| Air borne Particle Counter | Hauda Instrument and Equipment, China | BCJ-1 | BL/ EQ /QAE/014 |  |
| # Magnetic Stirrer Hot Plate | Stuant Scientific , UK | SWAT 05 | BL/ EQ /QAE/015 |  |
| # Hot plate | N Konga, Nigeria | QCP/200A | BL/ EQ /QAE/016 |  |
| # Oven 1 | Vismaram U.K | V1902/STWA6A | BL/ EQ /QAE/017 |  |
| # Oven 2 | Source U.KKotterman U.K | 2711 | BL/ EQ /QAE/018 |  |
| Incubator 1 | Eschmed Medical,, England | DNP-9052A | BL/ EQ /QAE/019 |  |
| Incubatorii Incubator 2 | GyftyfduytGulfex Medical and scientific , England | DNP-9082 | BL/ EQ /QAE/020 |  |
| Incubator 3 | Medfield Equipment, England | DNP-9052-1 | BL/ EQ /QAE/021 |  |
| Incubator 4 | KottermanKotterman Incubator, Germany | 2735 | BL/ EQ /QAE/022 |  |
| Potable bucket autoclave 1 | Optec Lab., China | XYXQ280 S.D | BL/ EQ /QAE/023 |  |
| Potable bucket autoclave 2 | Optec Lab. Optec Lab., China |  | BL/ EQ /QAE/024 |  |
| Air differential meter | Honri Air clean Tech, China | DNNP02 | BL/ EQ /QAE/025 |  |
| Lllllllllllllllllll Lamina Air Flow Machine | Medfield E Medfield Equipment, England | SCW-CJ-IF | BL/ EQ /QAE/026 |  |
| Sampling booth | Honri Air clean Tech, China | AER-SOT005 | BL/ EQ /QAE/027 |  |
| # Refrigerator | # Haier thermocool, Nigeria | # HR-142W | BL/ EQ /QAE/028 |  |
| # Microscope Olympus 1 | # Olympus optical ,Japan | # CHC | BL/ EQ /QAE/029 |  |
| # Microscope 2 | # Optec Lab., China | # XSZ – 107BN | BL/ EQ /QAE/030 |  |
| # Filter Integrity Test Apparatus | # Houshiji, China | # D.O CHROM | BL/ EQ /QAE/031 |  |
| # Digital Scale (500g) | # Golden-Mettler, USA | # GMU | BL/ EQ /QAE/032 |  |
| # Heating Block | # Houshiji, China | # TAL-M2 | BL/ EQ /QAE/033 |  |
| # Incubator 5 | # Medfield Equipment, England | # JTD-2000 | BL/ EQ /QAE/034 |  |
| # Incubator 6 | # England | # CANFA | BL/ EQ /QAE/035 |  |
| # Active Air sampler | # China | # FKC-1 Wit201901191120 | BL/ EQ /QAE/036 |  |
| # Stability chamber | # China | # FG-1500 | BL/ EQ /QAE/037 |  |
| # Fogging machine | # China | # WD-008 | BL/ EQ /QAE/038 |  |
| # Air Shower | # China | # NA | BL/ EQ /QAE/039 |  |
| # Magnehelic gauge | # Exact Instrument, China | # MTC 001 | BL/ EQ /QAE/040 |  |
| # HPLC | # England | # LDTHWO1 | BL/ EQ /QAE/041 |  |
| # Total Organic carbon Analyzer | # Biobase, China | # TOC- 1500 | BL/EQ/QAE/042 |  |
| # Oven 3 | # Medfield Equipment, England | # DHG-9053 | BL/EQ/QAE/043 |  |
| # Sampling weighing balance | # Golden-Mettler, USA | # GMU | BL/EQ/QAE/044 |  |
| # Digital pH meter 2 | # PH3C | # PH3C | BL/EQ/QAE/045 |  |

Water Treatment Unit

| Equipment | Make | Identification code |
| --- | --- | --- |
| SAND FILTER/ CARBON FILTER | Global Sterling India | BL/WT/PM/001 |
| SOFTNER COLUMN | Global Sterling India | BL/WT/PM/002 |
| SAND FILTER/ CARBON FILTER | Global Sterling India | BL/WT/PM/003 |
| SOFTNER COLUMN | Global Sterling India | BL/WT/PM/004 |
| DE-MINERALIZATION PLANT A | Global Sterling India | BL/WT/PM/005 |
| DE-MINERALIZATION PLANT B | Global Sterling India | BL/WT/PM/006 |
| DE-MINERALIZATION PLANT C | Global Sterling India | BL/WT/PM/007 |
| DIGITAL CONDUCTIVITY METER | Hanna, USA | BL/WT/PM/008 |
| DIGITAL PH METER | Hanna, USA | BL/WT/PM/009 |
| UV LIGHT | Water Tek, India | BL/WT/PM/010 |
| REVERSE OSMOSIS | Global Sterling India | BL/WT/PM/011 |
| REVERSE OSMOSIS | Eagle water, China | BL/WT/PM/012 |
| MCDP A | Pharmalab, India | BL/WT/PM/013 |
| MCDP B | IVEN, China | BL/WT/PM/014 |
| WFI | ITALY | BL/WT/PM/015 |
| BORE-HOLE | CHINA | BL/WT/PM/016 |
| BORE-HOLE | CHINA | BL/WT/PM/017 |
| SOFTNER WATER TANK | Geepee, Nigeria | BL/WT/PE/001 |
| CATRIGE MICRON FILTER | Lefilter, China | BL/WT/PE/002 |
| PROCESS WATER TANK | Geepee, Nigeria | BL/WT/PE/003 |
| HCL SOLUTION TANK | CHINA | BL/WT/PE/004 |
| CAUSTIC SODA SOLUTION TANK | CHINA | BL/WT/PE/005 |
| DE-MINERALIZATION TANK A | Geepee, Nigeria | BL/WT/PE/006 |
| DE-MINERALIZATION TANK B | Geepee, Nigeria | BL/WT/PE/007 |
| DE-MINERALIZATION TANK C | Geepee, Nigeria | BL/WT/PE/008 |
| MCDP FEED TANK | Geepee, Nigeria | BL/WT/PE/009 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/018 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/019 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/020 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/021 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/022 |
| AIR EXTRACTOR FAN | Blauberge, China | BL/WT/PM/023 |

List of Major Engineering/Maintenance Equipment:

| Equipment | Make | Identification Code |
| --- | --- | --- |
| Boiler (5Tons) | Cleaver Brooks , USA | BL/EQ/TECH/001 |
| Boiler (2Tons) | Sitong, China | BL/ EQ /TECH/002 |
| Boiler (1.2 ton) | Fulton, UK | BL/ EQ /TECH/003 |
| Air Compressor | UK | BL/ EQ /TECH/004 |
| 132 KV Generator | UK | BL/ EQ /TECH/005 |
| # 350 KV Generator | USA | BL/ EQ /TECH/006 |
| # 450 KV Generator | UK | BL/ EQ /TECH/007 |
| # Transfer pump 5.5 KW | UK | BL/ EQ /TECH/008 |
| # Transfer pump 5.5 KW | China | BL/ EQ /TECH/009 |
| # Cooling Tower 250 Tons | India | BL/ EQ /TECH/010 |
| # Boiler (0.2 Ton) | Thermtech, India | BL/ EQ /TECH/011 |
| # FFS 1 | Shanghai Iven, China | BL/ EQ /TECH/012 |
| # FFS 2 | Shanghai Iven, China | BL/ EQ /TECH/013 |
| # Oilless air compressor |  | BL/ EQ /TECH/014 |
| # Autoclave | Shanghai Iven, China | BL/ EQ /TECH/015 |
| # Pure Steam Generator | Shanghai Iven, China | BL/ EQ /TECH/016 |
| # 4000 L WFI tank 1 | Sahani Engineers PVT Limited, Inda | BL/ EQ /TECH/017 |
| # 4000 L WFI tank 2 | Sahani Engineers PVT Limited, Inda | BL/ EQ /TECH/018 |
| # Passbox 1 | Shanghai Iven, China | BL/ EQ /TECH/019 |
| # Passbox 2 | Shanghai Iven, China | BL/ EQ /TECH/020 |
| # Passbox 3 | Shanghai Iven, China | BL/ EQ /TECH/021 |
| # Passbox 4 | Shanghai Iven, China | BL/ EQ /TECH/022 |
| # Passbox 5 | Shanghai Iven, China | BL/ EQ /TECH/023 |
| # Passbox 6 | Shanghai Iven, China | BL/ EQ /TECH/024 |
| # Passbox 7 | Shanghai Iven, China | BL/ EQ /TECH/025 |
| # Passbox 8 | Shanghai Iven, China | BL/ EQ /TECH/026 |
| # Passbox 9 | Shanghai Iven, China | BL/ EQ /TECH/027 |
| # Passbox 10 | Shanghai Iven, China | BL/ EQ /TECH/028 |
| # Passbox 11 | Shanghai Iven, China | BL/ EQ /TECH/029 |
| # Passbox 12 | Shanghai Iven, China | BL/ EQ /TECH/030 |
| # Passbox 13 | Shanghai Iven, China | BL/ EQ /TECH/031 |
| # Passbox 14 | Shanghai Iven, China | BL/ EQ /TECH/032 |
| # Airshower 1 | Shanghai Iven, China | BL/ EQ /TECH/033 |
| # Airshower 2 | Shanghai Iven, China | BL/ EQ /TECH/034 |
| # Airshower 3 | Shanghai Iven, China | BL/ EQ /TECH/035 |
| # Airshower 4 | Shanghai Iven, China | BL/ EQ /TECH/036 |
| # Chiller | IVEN (SIC-7.5A-R2) | BL/ EQ /TECH/036 |
| # Air Receiver 1 (3000L) | Reliable Equipments, India | BL/ EQ /TECH/037 |
| # Air Receiver 2 | Qingdao Haikong Pressure Vessel Co., LTD (H24 3852), CHINA | BL/ EQ /TECH/038 |
| # Dessicant air dryer | Summits Hygronics Private Limited (Elix 050 DA), India | BL/ EQ /TECH/039 |
| # Adsorption compressed air dryer | Hangzhou Shanli Purify Equipment Corporation, China | BL/ EQ /TECH/040 |
| # 4000 L mixing tank 1 | IVEN, CHINA | BL/ EQ /TECH/041 |
| # 4000 L mixing tank 2 | IVEN, CHINA | BL/ EQ /TECH/042 |
| # Sampling booth 1 |  | BL/ EQ /TECH/043 |
| # Sampling booth 2 |  | BL/ EQ /TECH/044 |
| # AHU 1 |  | BL/ EQ /TECH/045 |
| # AHU 2 |  | BL/ EQ /TECH/046 |
| # AHU 3 |  | BL/ EQ /TECH/047 |
| # AHU 4 |  | BL/ EQ /TECH/048 |
| # AHU 5 |  | BL/ EQ /TECH/049 |
| # AHU 6 |  | BL/ EQ /TECH/050 |

# List of Major Production Equipment

| Equipment | Make | Identification code |
| --- | --- | --- |
| Digital Weighing Scale 15kg | China | BL/SPR/PE/001 |
| Weighing Balance 50kg | China | BL/SPR/PE/002 |
| Weighing Weighing Balance 150kg | China Chin China | BL/SPR/PE/003 |
| Mixing Tank (2, 000 Litres) | UK | BL/SPR/PE/007-1 |
| Mixing Tank ( 2, 000 Litres) | UK | BL/SPR/PE/007-2 |
| Mixing Tank ( 2,000 Litres) | UK | BL/SPR/PE/007-3 |
| Semi-Automatic Filling Machine 1 | China | BL/FR/PE/001 |
| Semi-Auto Semi-Automatic Filling Machine 2 | China ChinaChina | BL/FR/PE/002 |
| Semi-Auto Semi-Automatic Filling Machine 3 | China ChinaChina | BL/FR/PE/003 |
| Semi-Auto Semi-Automatic Filling Machine 4 | China ChinaChina | BL/FR/PE/004 |
| Semi-Auto Semi-Automatic Filling Machine 5 | China ChinaChina | BL/FR/PE/005 |
| Semi-Automatic Filling Machine 6 | China | BL/FR/PE/006 |
| Semi-Auto Semi-Automatic Filling Machine 7 | China ChinaChina | BL/FR/PE/007 |
| Semi-Auto Semi-Automatic Filling Machine 8 | China ChinaChina | BL/FR/PE/008 |
| Semi-Auto Semi-Automatic Filling Machine 9 | China ChinaChina | BL/FR/PE/009 |
| Semi-Auto Semi-Automatic Filling Machine 10 | China ChinaChina | BL/FR/PE/0010 |
| Automatic Filling Machine | China | BL/FR/PE/006 |
| Batch coding Machine 1 | China | BL/BC/PE/001 |
| Batch codi Batch coding Machine 2 | China | BL/BC/PE/002 |
| Batch coding Machine 3 | China | BL/BC/PE/003 |
| Batch codi Batch coding Machine 4 | China ChinaChina | BL/BC/PE/004 |
| # Computer controlled sterilization machine # (De Lama Autoclave) | Italy | BL/AC/PM/001 |
| # Computer controlled sterilization machine # (Pharmalab Autoclave) | China | BL/AC/PM/002 |
| Pouch Transfer Box | China | BL/PTB/PE/001 |
| Pouch Transfer Box | China | BL/PTB/PE/002 |
| Pouch Transfer Box | China | BL/PTB/PE/003 |
| Pouch Transfer Box | China | BL/PTB/PE/004 |
| # Conveyor belt | China | BL/CB/PE/010 |
| # Shrink wrapping machine 1 | Indian | BL/SWM/PE/001 |
| # Shrink wrapping machine 2 | Indian | BL/SWM/PE/002 |
| # Leak testing Machine 1 | Indian | BL/LKM/PE/001 |
| # Leak testing Machine 2 | Indian | BL/LKM/PE/002 |
| # Sighting Board 1 | China | BL/SB/PE/001 |
| # Sighting Board 2 | China | BL/SB/PE/002 |
| # Air shower 1 | China | BL/AS/PE/001 |
| # Air shower 2 | China | BL/AS/PE/002 |
| # Air shower 3 | China | BL/AS/PE/003 |

List of Major Store equipment

| Weighing balance, 150kg | Camry | BL/EQ/WHF/001 |
| --- | --- | --- |
| Vacuum cleaner | Deck-boat, UK | BL/EQ/WHF/002 |

# Prepared by: Ayuba Mustapha

# Reviewed by:  Raji Kareem        Quality Control Head

# Approved by: Koroma Abigael A.          Quality Assurance Manager

# Authorized by:  Agboola L. A.      Fact. Manager