DEPARTMENT: __________________AREA: ____________    MONTH:  ________		YEAR:     ______

| Parameters | Magnehelic gauge no. | Differential Pressure(mmH20) Specification | Alert limit : 1.55mmH20 Action limit: 13.5mmH20 |  | Verified By QA |  |
| --- | --- | --- | --- | --- | --- | --- |
| Frequency | Record the difference pressure (Magnehelic gauge) at starting the shift + 30 min and after every 3 hours ± 30 minutes till completion of the activity or end of shift |  |  |  |  |  |
| Date | Time | Magnehelic gauge no. | Observed Readings (mmH20 | Checked by | Verified by QA | Remark |