Quality Manual`

Of

BIOMEDICAL LIMITED, Ilorin

For

Quality Management System Implementation

At

The Various Facets of Processes

Approval Page

| Document | Designation | Name | Signature and Date |
| --- | --- | --- | --- |
| Prepared by |  |  |  |
| Check by |  |  |  |
| Approved by |  |  |  |
| Authorized by |  |  |  |

- Table of Contents

| SECTION | TITLE | Page |
| --- | --- | --- |
| SECTION 1 | Approval page | 2 |
|  | Table of Contents | 3-5 |
|  | Company description and Address | 6 |
| SECTION 2 | Biomedical Quality Policy Statement | 6 |
|  | Scope and Purpose | 8 |
| SECTION 3 | Organization | 8 |
|  | Annexure for Organization Chart | 8 |
|  | Products list | 8 |
|  | General Application | 8 |
|  | Normative references | 8 |
|  | Terms and definition | 9-10 |
| SECTION 4 | Quality Management System | 11 |
|  | General Requirement | 11 |
|  | Documentation Requirements | 11 |
|  | Hierarchy of documents | 12 |
|  | Quality manual & Control of Documents | 12 |
|  | Control of Records | 13 |
| SECTION 5 | Management Responsibility | 14 |
|  | Management Commitment, Customer focus | 14 |
|  | Quality Policy, Planning & Quality Objective | 15 |
|  | Responsibility, Authority And Communication | 16 |
|  | Management Representative | 17 |
|  | Communication | 17 |
|  | Management review& general | 17 |
|  | Management review input& output | 18 |
| SECTION 6 | Resources Management | 19 |
|  | Provision , human Resources& General | 19 |
|  | Competence, Awareness and Training | 19 |
|  | Infrastructure | 19 |
|  | Work Environments | 20 |
| SECTION 7 | Planning of product realization | 20 |
|  | Customer related processes | 21 |
|  | Determination of requirement related to the product | 21 |
|  | Review of requirement related to the product | 21 |
|  | Customer communication | 21 |
|  | Design and development planning& input | 22 |
|  | Design and development output & review | 23 |
|  | Design and development verification, validation and change control | 23 |
|  | Purchasing process | 24 |
|  | Purchasing information | 24 |
|  | Verification of purchased product | 24 |
|  | Production and its control | 25 |
|  | Validation of processes for production | 25 |
|  | Control of non-pyrogenicity | 25 |
|  | Identification and traceability | 26 |
|  | Customer property | 26 |
|  | Preservation of product | 26 |
| SECTION 8 | Measurement analysis and improvement | 27 |
|  | General requirement | 27 |
|  | Monitoring and measurement | 27 |
|  | Customer satisfaction | 27 |
|  | Internal audit | 28 |
|  | Monitoring and measurement of processes | 29 |
|  | Monitoring and measurement of product | 29 |
|  | Control of non- conforming product | 30 |
|  | Improvement& general | 31 |
|  | Corrective& Preventive action | 31-32 |
| Section 8 | Abbreviation | 32 |

2.0   Company Description

BIOMEDICAL LIMITED is a fast growing pharmaceutical manufacturing company specializing in the production of intravenous solutions in flexible PP bags under Bioflex brand and in Oral Liquid products.

Incorporated in 1978, the company commenced commercial production on 21st August 1981.

This pioneer industry has remained the foremost producer of IV fluids in Nigeria as our products  extensively used in many hospitals.

Biomedical Limited has developed a strong identity in the field of kidney therapy. We pioneered the local production of both the peritoneal dialysis fluid and the heamo-dialysis concentrates in 1985. Our next dialysis product range will include the Continuous Ambulatory Peritoneal Dialysis (CAPD) solutions.

The company has evolved dynamically to meet customers ‘demand and now specializes in both the production of

(a) Human Health Drugs which include-

i. Intravenous fluid

ii. Oral liquid

A continuous expansion of products and market is planned in the division in the next 5 years. The factory is about 3670sq. meters.

Licenses held

The company was registered by the Corporate Affairs Commission on the 13th day of April 1978. It is licensed by Pharmacist Council of Nigeria. The license renewed yearly. All Products are registered with NAFDAC and renewed every 5 years.

Address:

Name and Address of registered office and factory:

Biomedical Limited,

No.1, Ohimege Road, Industrial Estate, PMB1449,

Ilorin, Kwara State,

Nigeria.

Phone No: 07085663001, 08057001168, 08034503106, 08034814697

Email: info@biomedicalng.com

SECTION 2

BIOMEDICAL LTD QUALITY STATEMENT

At Biomedical Ltd. Management team through our practices and standards endeavor to lead by example. They give complete commitment and allocate the necessary resources to the quality policies and programs initiated. The management team is charged with creating a clarity and unity of purpose within the Company and an environment in which the organization and its people can excel. All employees of the company are not only required to comply with and contribute to the provisions of the quality management system but are encouraged to embrace the fundamental attributes of the system and incorporate it into everyday activities. All employees are encouraged to make contributions to continuous quality improvement. Managers are responsible for ensuring that their workforce is so instructed, understand and comply with these requirements.

- Our aim is to be quality reference in the pharmaceutical Industry

- We ensure that we can deliver the defined quality goals and targets by the establishment and implementation of management objectives and processes, which are monitored against the requirements of our customers’ needs/expectations, our internal business management system, ISO9001:2008 and all applicable statutory and regulatory requirements. Progress against set goals and measurable targets is monitored and evaluated through a Management review process

- We delight our customers and develop relationships with all suppliers both internal and external, working in partnership, developing mutually beneficial relationships built on trust, sharing of knowledge and integration. It is our aim to meet all supply chain requirements and to provide significant and measurable successes.

WHAT MAKES US UNIQUE

- Our commitment to total quality

- Our determination and vision

- Our timely delivery of affordable, yet quality pharmaceutical products

- Our discipline workforce

- Our compatibility

- Our professionalism

- Our finance strength and ability

- International experience and expertise

Ultimate responsibility for the achievement of these objectives rests with the Managing Director supported by the Management Team with the responsibility and authority to implement company policies.

Kishin Murjani

M.D

Section 3

- Scope

This manual covers the quality system that Biomedical Limited has in place for the production of drugs and commercial supply of its products. It refers to supporting documentation, procedures, quality plans and work instructions associated with the manufacture, storage and distribution of product.

This quality manual also provides details on the policies and procedures Biomedical Limited uses to meet Quality management system requirements & applicable regulatory requirements (including requirements of Good Manufacturing Practice). The intent of these policies and procedure is to demonstrate Biomedical Limited ability to consistently provide products that meet customers’ and regulatory requirements and to enhance customer satisfaction through the effective application of the quality management system processes.

3.1 Purpose

The purpose of this Quality Manual is to outline the Quality Management Systems used by Biomedical Limited. to manage the quality of its products. Biomedical Limited is the manufacturer of a range of pharmaceutical products including Intravenous and Oral liquid drugs.

3.2 General

All departments, units, or sections shall comply with the policies and requirements established by the Company’s Quality Manual.  The requirements specified are aimed primarily at achieving high quality products to meet customer’s satisfaction and conformity to quality management system regulatory requirements by preventing non-conformity at all stages from design to distribution.

### The company is licensed for the manufacture of large volume intravenous infusions and liquid drugs in compliance with regulatory standard requirements.

Product lists  is given in Annexure 1 while  Annexure 11 for our organization chart/ organogram

3.3 Application

- Our quality management system complies with all application requirements contained in various operation standard, that  covers the design and provision of all company products and encompasses all operations at our facility located at Ilorin, Kwara State.

- All departments in the company shall comply with new or revised requirements as specified in the current Quality Manual.

- The company  is not using any customer property.

3.4 Normative references

Listed are key quality management system documents referred in this manual and defines the top-level processes for implementing our quality policy.

3.5 Terms and definitions

Principle

This definition covers the meaning of the words used in this manual.

3.5.1. Audit

Systematic and independent examination to determine whether quality activities and related results comply with quality policy and if this policy has been implemented effectively.

3.5.2. Batch number (or lot number)

A distinctive combination of numbers and/or letters which specifically identifies a batch or lot and from which the production history can be determined.

3.5.3. Calibration

Comparison of measuring instrument performance against an approved standard leading, if appropriate, to correction of performance of the instrument.

3.5.4. Change

Any deliberately or non-deliberately introduced modification to existing documents, processes, equipment, systems or testing methods.

3.5.5. Change control

Formal system to evaluate effects of any change used in for reporting a change process.

3.5.6. Conformity

Fulfillment of specified requirements.

3.5.7. Contamination

The unintended, non-process related, introduction of impurities of a chemical or microbiological nature, or of foreign matter, into or onto a material during production, sampling, packaging or repackaging, storage or transport.

3.5.8. Corrective action

Action taken to rectify an identified nonconformity, defect or other undesirable situation and to

prevent recurrence.

3.5.9 Design review

Documented, comprehensive and systematic examination of a design to evaluate its capability to fulfill agreed requirements for quality. It will identify problems, if any, and propose the development of solutions.

3.6.0. Expiry date

The date placed on the container/labels of the product designating the time during which the product is expected to remain within established shelf life specifications if stored under defined conditions, and after which it should not be used.

3.6.1. In-process control

Checks performed during production in order to monitor and, if necessary, to adjust the

process, including repeating a process step, to ensure that the process performs as expected.

The monitoring of the environment or utilities may also be regarded as part of the in-process

control.

3.6.2. Inspection

Activity such as measuring, examining, testing or gauging one or more characteristics of an

entity and comparing the results with specified requirements in order to establish whether

conformity is achieved for each characteristic.

3.6.3. Intermediate

Partly processed material which must undergo further processing before it becomes a finished product.

3.6.4. Manufacture

All operations from purchase of materials and products, through production, quality control,

release and storage, to distribution of products, and the related controls.

3.6.5. Materials

A general term for raw and packaging materials, process aids, intermediates, active ingredients and any  other items used as packaging materials.

3.6.6.  Preventive action

Action taken to eliminate the causes of a potential nonconformity, defect, or other undesirable

situation in order to prevent occurrence.

3.6.7. Procedure

Description of the operation(s) to be carried out, the precautions to be taken, and measures to be applied directly or indirectly, related to the manufacture of  finished product.

3.6.8. Process

Set of inter-related resources and activities which transform inputs into outputs.

3.6.9. Production

All operations involved in obtaining a final product commencing with the receipt and storage of raw materials, and continuing through processing to packaging, labelling and storage.

3.7.0. Qualification (equipment)

The action of proving that any equipment is properly installed, works correctly, and consistently produces the expected results according to the specified requirements. Qualification is part of, but not limited to, the validation of a process.

3.7.1. Quality assurance

The sum total of the organized arrangements made with the object of ensuring that products quality

requirements are met.

3.7.2. Quality attribute

Any product characteristic which may reflect quality, or may affect safety or purity of the product during its expected shelf life.

3.7.3. Quality function

Sum total of activities from Quality Assurance and Quality Control.

3.7.4. Quality plan

Document setting out the specific quality practices, resources, responsibilities and sequence of

activities relevant to a particular product, project or contract.

3.7.5. Quality system

Organizational structure, procedures, processes and resources needed to implement quality

management.

3.7.6. Reprocessing

The treatment of any batch or sub-batch of materials by repeating the same process steps from a defined stage of production.

3.7.7. Retest date

The date after which samples of the API should be re-examined to ensure that material is still suitable for use.

3.7.8. Reworking

The treatment of a batch or sub-batch of materials of unacceptable quality, by using a process other than that used to produce the original material, so that its quality may be made acceptable.

Documents are referenced throughout this manual by document number.

List of abbreviations given in annexure 9.

Section 4

Quality management system

4.1. General requirements

Biomedical Ltd has established, documented and implemented a Quality Management System (QMS) in accordance with the requirements of NAFDAC. The system is maintained and continually improved through the use of the quality policy, quality objectives, audits, results, analysis of data, corrective and preventive action and management review. To design and implement the QMS, Biomedical Ltd has:

- Identify all official regulations applicable to quality management system in the manufacture of pharmaceutical products ( as will be recognized and required by regulatory bodies).

- The sequence and interaction of these processes have been determined,

- Determined criteria and methods needed to ensure that the operation and control of the processes are effective.

- Ensured the continual availability of resources and information necessary to achieve planned results and continual improvement of these processes.

- Established systems to monitor, measure and analyze these processes where applicable, and

- Established processes to identify and implement actions necessary to achieve planned results and continual improvement of these processes.

4.2. Documentation requirements

4.2.1. General:

To enable the use of the documents in the company, company has specifically designed a quality management system as per standard quality management system requirements.

The Quality Management System documentation in Biomedical Ltd includes:

- A documented Quality Policy.

- Quality Objectives

- This Quality Manual.

- Documented Procedures required and legal requirements such as CGMP

- Documents needed by the organization in order to ensure the effective planning, operation

and control of our processes.

- Quality Records

- External documents such as relevant standards, guidelines and books in relevant fields

according to external documents list.

- The Standard Testing Procedures

- The company has established, implemented, documented and maintained information in paper and or electronic form.

The level of these documents is shown in figure 1 – 1 (hierarchy of documents

Quality  Policy

Quality Manual

SS

Standard Operating  Procedures

Communication Approach

-

Who, What,

Where, When.

Work Instructions

Specific activities

-

How

Forms, Lists, Records

4.2.2 Quality manual

Quality Manual Includes:

- The scope of the quality management system and details related to implementation in organization.

- Reference to the documented procedures used in Quality Management System.

- Quality policy.

- Organization chart.

- Company history.

4.2.3 Control of Documents

Documents and records required by the quality management system are controlled. (SOP No.: BML-QDG-QA-002)

Documents control procedure has been established to define the controls needed to:

•	Approve documents for adequacy prior to issue.

•	Review and update as necessary and re-approve documents.

•	Ensure that changes and current revision status of documents are identified.

•	Ensure that relevant versions of applicable documents are available at points of use.

•	Ensure that documents remain legible and readily identifiable.

•	Ensure that documents of external origin are identified and their distribution controlled.

•	Prevent the unintended use of obsolete documents and to apply suitable identification to them if they are retained for any purpose.

In order to define the format and contents of SOPs, SOP preparation procedure has been prepared.

Labeling

- A defined system shall be established to ensure the regulatory function of the responsible company approves labeling, as appropriate to ensure compliance with regulatory requirements.

- All foreign language labeling for finished products shall be vetted for correctness and approved.

- Labeling shall be reviewed for compliance with regulatory requirements, completeness, accuracy, and substantiation of claims. Finished product claims shall be supported by valid scientific evidence.

4.2.4 Control of Records

Records are established and maintained to provide evidence of conformity to requirements and of the effective operation of the Quality Management System.

The records are maintained according to the Control of Quality Records Procedure. (BML-QDG-QA-002)

This procedure requires that quality records remain legible, readily identifiable and retrievable. The procedure defines the controls needed for identification, storage, protection, retrieval, retention time and disposition of records.

The procedure preserves electronically-generated records and signatures, ensures that alterations to original

records are properly substantiated, maintains confidentiality, also  it also ensures traceability of

documentation, and provides a suitable environment to prevent damage or deterioration and to prevent los

of the records.

Records must be identifiable and traceable to the product involved.

Section 5

5.0 Management responsibility

Quality management system activities are undertaken by interdisciplinary teams, which include qualified personnel from the various departments:

5.1 Management commitment

Biomedical Ltd. management has provided evidence of its commitment to the development and implementation of the Quality Management System and continually improving its effectiveness by:

- Communicating to the organization the importance of meeting customer requirements as well as statutory and regulatory requirements through conducting regular meetings in all organizational levels and providing trainings for all personnel.

- Establishing the quality policy.

- Ensuring that quality objectives are achieved and monitoring the trend of achieving these objectives during management review meetings.

- Conducting management reviews in 4 months intervals.

- Ensuring the availability of resources.

5.2 Customer Focus

The Quality Management System in Biomedical Ltd. has been designed with the focus on requirements of different customer groups (including patients, doctors, pharmacies, distribution personnel and legal bodies such as Ministry of Health) as the main approach. Management identifies changes that must be made to align the organization direction with customer needs. To achieve this objective, the management reviews and analyses customer surveys, sales reports and sales department reports of on-sight visits (during management review meetings) and evaluates organization’s ability to meet customer’s needs

5.3 Quality Policy

Biomedical Ltd. Management has documented the quality policy and encourages all personnel to follow this policy. The committee ensures that the policy is understood and implemented in all organizational levels. The quality policy is periodically reviewed during the management review meetings in order to ensure its continuing suitability and if necessary it will be republished. The quality policy is:

In Biomedical Limited, we have a strong commitment to continual production of quality pharmaceuticals, through global best practice. Our quality system is designed to satisfy our customers and meet all regulatory expectations.

This quality policy is driven by our company commitment to, employ highly skill and well-motivated staff, continual development and improvements in order to achieve our set objectives.

5.4 Planning

5.4.1 Quality Objectives

The top management ensures that the quality objectives are established at the relevant function of all levels in line with quality policy

- It is expected that the quality system when implemented according to the dictates of the manual will reduce the number of (or prevent) recalls, returned or salvaged products, and defective products entering the marketplace.

- The Quality manual will serve as a first step to highlight common elements between the cGMP regulations and Quality Management Systems.

- Effective quality system in manufacturing process and product knowledge and practices, will handle many types of changes to facilities, equipment, and processes and appropriate process knowledge can implement many types of improvements

Also, the committee defines quality objectives for different areas of the organization according to the company management policies which are specified in quality policy statement annually. These objectives should be:

- Specific and clear

- Measurable

- Attainable

- Related to the quality policy

- Time-bound

When determining quality objectives, product requirements, customer requirements and required resources needed to achieve the objectives are taken into consideration. After defining the objectives, responsible personnel in determined areas establish the objective achievement plan. This plan includes: time schedule, responsibilities, required resources, objective achievement monitoring methods and other relevant requirements. Quality objective plans should be approved by a set committee and they are responsible to support the plan through providing the required resources.

5.4.2 Quality Management System Planning

Management representative is responsible for quality management system planning. Activities related to identification of all processes and supervision of developing documents and quality manual are also the responsibility of management representative.

5.5 Responsibility, Authority and Communication

5.5.1 Responsibility and Authority

Job descriptions for all personnel in accordance with the Biomedical Ltd organizational chart (which is attached to this quality manual) are prepared by the Quality Assurance Manager cooperating with other Managers and after being approved by Managing Director, job descriptions are submitted to all personnel in all organizational levels.

The Management has provided evidence of its commitment to the development and implementation of the quality management system and continually improving its effectiveness by:

- Communicating to the organization the importance of meeting customer requirements as well as statutory and regulatory requirements through conducting regular meetings in all organizational levels and providing trainings for all personnel.

- Establishing the quality policy

- Ensuring that quality objectives are achieved and monitoring the trend of achieving these objectives during management review meetings

- Conducting management reviews every 4 months

- Ensuring the availability of resources

5.5.2 Authority

- All staff is allocated with the authority to perform their allocated responsibilities. The following provides a summary of the principal responsibilities of each job role, and these are clarified in greater details within the Standard Operating Procedures.

- All staff shares the authority and responsibility of identifying non-compliances or possible improvements, and recording these instances such that corrective action can be taken, both to rectify the immediate situation and to prevent recurrence.

The Managing Director continually reviews the company’s resources to ensure that adequate staff, equipment and materials are available to meet customer requirements.

5.5.3 Management Representative

The management has appointed the Quality Assurance Manager as the management representative, who has responsibilities and authority that includes:

- Ensuring that processes needed for the quality management system are established, implemented and maintained.

- Reporting to management on the performance of the quality management system, and note needed improvements.

- Ensuring creation of awareness.

- Supervising of communication processes to ensure the promotion of awareness of customer requirements and needs throughout the organization.

- Acting as liaison with external parties on matters relating to the Quality Management System.

5.5.4 Communication

The committee is responsible for identifying the key communication processes in Biomedical ltd. Information communication and transfer methods are different according to the type of information and might include using computer systems, designed quality system documents and conducting internal meetings at different organizational levels.

5.6 Management Review

5.6.1 General

The quality management system is reviewed at 12 months interval to ensure its continuous suitability, adequacy and effectiveness. It also includes opportunities for improvement and required changes in quality policy and quality objective. Superintendent Pharmacist/Factory Manager is responsible to organize the Management review meetings, which includes preparing the agenda, presentation of the data, minutes of meeting and action plan. (BML- QDG-QA-080)

Emergency Management review meeting may be called when necessary by the Superintendent Pharmacist. The minutes derived from the Management review meeting shall be appropriately documented.

The Management review meeting consists of the following members;

- Chairman

- Managing Director

- Executive Directors

- Superintendent Pharmacist/Factory Manager

- Production Manager

- Quality Assurance Manager

- Finance Manager

- Admin Manager

- Chief Engineer

- Production Pharmacist

- Process Internal Auditor

- Heads of units/department stores, purchasing, internal control/audit.

5.6.2 Management review input includes:

- Results of audits (Internal and External),

- Customers’ feedback,

- Status of Corrective and Preventive Actions,

- Quality Policy and Quality Objectives,

- Recommendations for improvement,

- Process Performance and Product Conformity,

- Planned changes that could affect the quality management systems,

- Follow-up actions from earlier management reviews.

5.6.3 Management Review output

During these review meetings, management will identify appropriate actions to be taken regarding the following issues:

•	Improvement of the effectiveness of the quality management system and its processes.

•	Improvement of product related to customer requirements.

•	Improvement in the level of service provided to our customers.

•	Required resources.

•	Establishment of Company Objectives and Improvement plan.

Responsibility for required actions is assigned to members of the management review team. Any decisions made during the meeting, assigned actions and their due dates are recorded in the minutes of management review

SECTION 6

Resource management

6.1.     Provision of resources

The company determines and provide the resources through planning and budgeting needed;

- To implement and maintain the quality management system and continually improve its effectiveness, and

- To enhance customer satisfaction by meeting customer requirements and regulatory requirements.

Company recognizes human capital, infrastructure such as Power, buildings, equipment and finance as resources.

6.2. Human resources

6.2.1. General

Personnel performing work affecting product quality shall be competent on the basis of appropriate academic qualification, training, skills, and experience.

6.2.2. Competence, Training and Awareness

The company shall:

- Determine the competence for each personnel performing the work affecting conformity to product requirements based on education, experience and training.

- Determine the necessary competence for personnel performing work affecting product quality.

- Provide training or take other actions to satisfy those needs through continual training.

- Evaluate the effectiveness of the actions taken through pre and post training assessments.

- Ensure that the employees are aware of their important role to achieve the quality objectives in the form of well-defined job responsibilities given to them in writing.

- That appropriate records of education, training, skills, and experience are maintained

6.3 	Infrastructure

Biomedical Limited shall determine, provide, and maintain the infrastructure needed to achieve conformity to product requirements.  Infrastructure includes, as applicable buildings, workspace, and associated utilities, process equipment (both hardware and software), and supporting services (transport, communication or maintenance and repair).

    - Biomedical Limited shall have a documented program for facilities, equipment, and associated operating systems that have an impact on the quality of material, products, and services.  The program shall ensure that design, construction, and maintenance is performed in a matter that: minimizes any adverse impact on product or service quality, and conforms to regulatory requirements.

    - The company shall document the design requirements and the as-built characteristics of facilities and modified or newly installed equipment that can directly affect quality.

    - The company shall define, execute, and document the appropriate systems to operate facilities and equipment that impact the quality of material, products, and services in a manner that minimizes any adverse impact on product and service quality and that conforms to regulatory requirements.

    - There shall be effective implementation and maintenance of a pest control program.

  - Work environment

The Company shall determine and manage the work environment needed to achieve conformity to

product requirements.

Protective equipment be provided to ensure safety at workplace will include fire extinguishers located

in proper places, safety goggles, nose masks fire hydrants.

Personnel shall be continually trained on procedures for safety and hazards prevention.

7.0  Product realization

7.1 Planning and product realization

The company’s management shall plan and develop the processes needed for product manufacture.  The manufacturing plan shall be consistent with the requirements of the other processes of the quality management system.

The product realization planning includes the specific methods, facilities, and equipment, workforce and materials/support services needed to achieve all desired results. The planning process applicable to all products are the work instructions and other data located in work areas where needed.

In planning  for  production, the company shall determine the following, as appropriate

- Quality objectives as emphasized in the various departmental processes of the company and requirements for the products,

- The company shall establish processes, documents, and provide resources specific to the product,

- Verification, validation, monitoring, inspection and test activities specific to the product, and the criteria for product acceptance must be seen to be within officially set procedures and specifications

- Records needed to provide evidence that the realization processes and resulting product meet requirements as will be evidenced in findings of routine validation and reconciliations.

The equipment are calibrated and validated as per the standard operating procedures. The product will be tested by the quality control department as per the norms. During the production the quality personnel will check the quality of the product. Formulation Plant and the intravenous fluids plant follows the pharmacopeias. Batch manufacturing record will provide all the quality parameters, which are certified by the respective Managers.

7.2  Customer-related processes

    - Determination of requirements related to the product

The Superintendent Pharmacist/ Factory Manager is responsible for developing and implementing effective customer-related processes in accordance with the policies.

The company shall establish a documented procedure to determine:

  - Requirements specified by the customer, including the requirements for delivery and post-delivery activities

  - Also the company has determined the other requirements of customers, which are known, to them, such as quality parameters of products, maintaining good manufacturing practices at the point of sale or storage.

  - Statutory and regulatory requirements related to the product (NAFDAC Quality System Regulations, PCN Regulations  and other Official Guidelines to Good Manufacturing Practice).

  - Any additional requirement determined by the company

The superintendent Pharmacist/Factory Manager is responsible for action on issues that emanate from the market through Biomedical representatives.

7.2.2   Review of requirements related to the product

The company  shall review the requirements related to the product.  This review shall be conducted prior to the company’s commitment to supply a product to the customer (submission of tenders, acceptance of orders, acceptance of changes to orders) and shall ensure that;

- All applicable product requirements are defined, understood and confirmed with the customer prior to acceptance.

- Sales personnel review customer requirements identified during the determination process to  ensure that they are clearly stated, understood, and recorded.

- The Company has the ability to meet the defined requirements.

Records of the results of the review and actions arising from the review shall be maintained.

    - Customer communication

Biomedical Limited shall determine and implement effective arrangements for communicating with customers in relation to

- Product information via sales personnel/customer interaction,  organized meetings and company’s  representatives visitation.

- Inquiries, contracts or order handling, including amendments through office desk discussion

with sales personnel.

- Customer feedback, including customer complaints through market surveys.

We pay particular attention to customer feedback, including customer complaints and customer satisfaction. (see Section 7.2.1)

7.3     Design and development

7.3.1   Design and development planning

The company’s management shall plan and control the design and development of product by establishing a documented procedure.  During the design and development planning the following  shall be determined:

- The design and development stages,

- The review, verification, and validation that are appropriate to each design and
development stage, and

- The responsibilities and authorities for design and development.

The design process manager (engineering, production at a specific design stage) and quality managers are responsible for managing product design and development activities.

The Superintendent Pharmacist/Factory Manager has overall responsibility as the team leader to design and develop the product.

Planning output shall be updated, as appropriate, as the design and development progresses.

7.3.1.1 Design and development plan requirements

Design and development plans shall identify necessary personnel, resource requirements, and procedures.  Plans shall:

- ensure that the quality function approves all new or modified materials, products and processes.  Such approval shall be documented.

- ensure that product development activities are conducted, documented, and interpreted in a scientifically valid fashion,

- ensure that the product design can be manufactured by stable and capable processes, and

- include a requirements definition that links the customer requirements with the product design features.  Once defined, the requirements shall be communicated to all involved; changes in defined requirements shall be authorized and documented by designated individuals.

7.3.2   Design and development inputs

Inputs relating to product requirements shall be determined and records maintained.  These inputs shall include;

- Functional and performance requirements.

- Applicable statutory and regulatory requirements.

- Where applicable, information derived from previous similar designs, and

- Other requirements essential for design and development.

These inputs shall be reviewed for adequacy.  Requirements shall be complete, unambiguous and not in conflict with each other. The drawings, data and the reviews at various levels are maintained.

7.3.3   Design and development outputs

The outputs of design and development shall be provided in a form that enables verification against the design and development input and shall be approved prior to release.

Design and development outputs shall;

- Meet the design and development input requirements.

- Provide appropriate information for purchasing, production, and for service provision.

- Contain or make reference to product acceptance criteria.

- Specify the characteristics of the product that are essential for its safe and proper use.

7.3.4 Design and development review

At suitable stages, systematic reviews of design and development shall be performed in accordance with the design and development plan.

- To evaluate the ability of the results of design and development to meet requirements.

- To identify any problems and propose necessary actions.

- Include personnel independent of those having direct responsibility for the work being performed or include cross functional teams, as appropriate.

- Identify those characteristics of the design that are crucial to the safe and proper functioning of the product, and ensure their integrity can be maintained through manufacturing and storage.

- Participants  in such reviews shall include representatives of all functions concerned with the design and development stage(s) being reviewed.

- Records of the results of the reviews and any necessary actions shall be maintained.

7.3.7  Control of design and development changes

Design and development changes shall be identified and records maintained.  The changes shall be reviewed, verified and validated, as appropriate, and approved before implementation.  The review of design and development changes shall include the evaluation of the effect of the changes on constituent parts and product already delivered.

Records of the results of the review of changes and any necessary actions shall be maintained.

      - New or modified products shall meet requirements under all anticipated manufacturing conditions, including full-scale production.

      - The company shall ensure chemicals or manufacturing materials that are not intended to remain as a constituent or component of the finished product are removed away from the area where needed materials are stored

      - Design changes and modifications affecting key product characteristics shall have the same level of review as required for approval of the original product or process. Examples of key product characteristics are:  safety, performance, sterility, non-pyrogenicity, chemical composition, stability, and purity.

      - Design and development changes that occur during life cycle of a product should meet the relevant requirements.

7.4    Purchasing

7.4.1 Purchasing process

The company shall establish documented procedures to ensure that purchased product conforms to specified purchase requirements.  The type and extent of control applied to the supplier and the purchased product shall be dependent upon the effect of the purchased material on subsequent intermediate or the final product.

The Company shall evaluate and select suppliers based on their ability to supply product in accordance with the company’s requirements.  Criteria for selection, evaluation, and re-evaluation shall be established.  Records of the results of evaluations and any necessary action arising from the evaluation shall be maintained.

Supplier evaluation and approval

      - Biomedical Limited shall implement a program for supplier evaluation and approval.  The Company shall document approval requirements for suppliers and maintain appropriate records.

  - The quality company shall review and approve, in writing, suppliers of products that impact product quality.

  - To be approved, suppliers providing materials bearing the Biomedical trademark shall ensure that the products conform to the specified requirements. (BML-QDG-QA-075)

7.4.2  Purchasing information

Purchasing information shall describe the product to be purchased, including where appropriate

- Requirements for approval of product, procedures, processes, and equipment.

- Requirements for qualification of personnel.

- Quality management system requirements.

The logistics manager ensures the need of specified purchase requirements prior to communication to the supplier as per procedures. Copies of relevant purchasing documents shall be retained with ease of requirement for traceability.

7.4.3  Verification of purchased product

Biomedical Limited has established and implemented the inspection or other activities necessary for ensuring that purchased product meets specified purchase requirements. The stores personnel will communicate to the quality department about the material arrived (Raw materials and packaging materials).

The Quality Assurance Manager plans and implements appropriate sampling plans and / or other statistical techniques to verify purchased product.

As applicable, the Quality Assurance Manager documents and communicates the intended verification arrangements certifies or rejects the materials as per analysis of the incoming materials.

7.5    Production and service provision

7.5.1 Control of production  and  service provision

The company shall plan and carry out production and service provisions under documented procedures and controlled conditions.

The controlled conditions shall include, as applicable;

- The availability of information that describes the characteristics of the product.

- The availability of documented procedures, work instructions, and standards, as

Necessary.

- The use of suitable equipment.

- The availability and use of monitoring, and measuring devices as provided in quality control

department and the implementation of written protocols for monitoring, and measurement,

and the implementation of release, delivery, and post-delivery activities with proper

documentation.

As applicable, the quality assurance manager documents and communicates the intended verification arrangements who certifies and issues certificate of analysis or rejects the material as per analysis of the incoming materials.

7.5.2.  Validation of processes for production

Biomedical Limited shall validate any process for production where the resulting output cannot be verified by subsequent monitoring or measurement.  This includes any process where deficiencies become apparent only after the product is in use.

Validation shall demonstrate the ability of these processes to achieve planned results.(Validation ref SOP)

The company shall establish arrangements for these processes including, as applicable

- Defined criteria for review and approval of the processes.

- Approval of equipment and qualification of personnel.

- Use of specific methods and procedures.

- Requirements for records.

- Revalidation.

7.5.2.1 Validation of processes

- The company  shall have a written procedure that defines the validation process including criteria when to revalidate.

- Validated operating parameters for a process shall be included as operating limits in the appropriate operating procedures to ensure the process is operated within the validated parameters during routine production.

7.5.2.2  Control of non-pyrogenicity

- For finished products labeled "non-pyrogenic," raw materials and manufacturing processes shall be controlled in order to ensure non-pyrogenicity.

- Non-pyrogenicity shall be confirmed by either the pyrogen (rabbit) or bacterial endotoxin (Limulus Amebocyte Lysate) tests.

If bacterial endotoxin tests are used, the method shall be validated for the products being a Sterility Control Level(SCL) shall be defined for each finished product labeled “sterile”. The determination of the appropriate SCL shall take into account the intended use, the manufacturing/sterilization process and the regulatory requirements.

The sterilization process parameters required to achieve the defined SCL shall be established and validated in reference to the relevant regulatory requirements.

Release of product labeled “sterile” shall include verification of compliance with the established sterilization process parameters tested.

7.5.2.3  Control of sterility

7.5.3 	Identification and traceability

a.      Biomedical Limited shall define the extent to which raw materials and components

need to be identified and related to the finished product’s batch/lot or serial number.

b     The product status shall be identified with respect to monitoring and measurement

requirements.

c.     Where traceability is important to quality or is required by regulation, appropriate

identification of raw materials and components shall be maintained throughout the production

process.

d. 	All code or product specific printed material or labeling, excluding promotional and

advertising material, shall be  verified.

    - Customer Property

Company is not using any customer property.

7.5.5   Preservation of product

Biomedical Limited shall preserve the conformity of product during internal processing and distribution to the intended destination.  This preservation shall include identification, handling, packaging, storage, and protection.  Preservation shall also apply to the constituent parts of the product.

7..5.5.1     The documented procedures shall describe how the following are controlled

- Storage of products in areas and buildings that are clean and orderly with consideration given to security and the prevention of damage, deterioration, and contamination,

- Definition and identification of various storage areas and product status by physical means,

- Handling and disposition of returned goods,

- Authorization of receipt and movement of materials and products to and from storage areas,

Re-assay/re-inspection programs for detecting signs of product deterioration shall be based on product stability and regulatory requirements.

7.6    Control of monitoring and measuring equipment

Biomedical Limited shall maintain a procedure that determines the monitoring and measurement to be undertaken and the monitoring and measuring devices needed to provide evidence of conformity of product to determined requirements.

The Company shall establish processes to ensure that monitoring and measurement can be carried out and are carried out in a manner that is consistent with the monitoring and measurement requirements.

Where necessary to ensure valid results, measuring equipment shall

- Be calibrated or verified  at specified intervals, or prior to use, against measurement standards traceable to international or national standards; where no such standards exist, the basis used for calibration or verification shall be recorded,

b)	Be adjusted or re-adjusted as necessary,

c)	Be identified to enable the calibration status to be determined,

d)	Be safeguarded from adjustments that would invalidate the measurement result, and

e)	    Be protected from damage and deterioration during handling, maintenance, and storage.

In addition, Biomedical Limited shall assess and record the validity of previous measurement results when the equipment is found not to conform to requirements.  The Company shall take appropriate action on the equipment and any product affected.  Records of the results of calibration and verification shall be maintained.

### 8.      Measurement, analysis and improvement

8.1    General

Biomedical Limited shall plan and implement the monitoring, measurement, analysis, and improvement processes needed

- To demonstrate conformity of the product; product parameters are identified as per the schedule

frequency demonstrates the conformity of the product

- To ensure conformity of the quality management system; the quality control department

analyzes the data and monitors at regular intervals if any replacements are required it is

informed to the management.

- To continually improve the effectiveness of the quality management system; the company

will evaluate the inputs from audits, management review meetings, corrective actions.

This shall include determination of applicable documented methods, including statistical techniques, and the extent of their use.

8.2    Monitoring and measurement

8.2.1  Customer  satisfaction

As one of the measurements of the performance of the quality management system, the company shall monitor information relating to customer perception as to whether the company has met customer requirements.  The methods for obtaining and using this information shall include.

- Ensuring that routine customer satisfactory survey carried out by the marketing unit Sales team utilizes a customer satisfaction survey form to ascertain the customer’s overall perception of how well we are meeting their requirements and to document any recommendations for improvement.  Data collected by customer care team during routine communications is the primary basis for assessing customer satisfaction.

- That complaint handling is conducted efficiently by responsible personnel to the customers’ satisfaction Customer complaints (whether received in writing or verbally) received by the sales personnel are immediately forwarded to the Superintendent Pharmacist/Factory Manager for appropriate attention for resolution.  Customer complaints are documented and monitored through resolution through our continual improvement system.

Superintendent Pharmacist/Factory Manager has the responsibility of communicating the needs and requirements of the customer to the top management through the Superintendent Pharmacist

Customer satisfaction survey form is used to measure the level of satisfaction and will be done once in six months.

8.2.2  Self audit

The Company shall conduct self audits at planned intervals of 12 months to determine whether the quality management system. (BML-QDG-QA-053)

a)	conforms to the planned arrangements(see Section 7.1),  requirements of this Quality Manual, and to the quality management system requirements established by the company, and

b)	is effectively implemented and maintained.

An audit program shall be planned, taking into consideration the status and importance of the processes and areas to be audited, as well as the results of previous audits.  The audit criteria, scope, frequency, and methods shall be defined. Selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process.

The responsibilities and requirements for planning and conducting audits, and for reporting results and maintaining records shall be defined in a documented procedure. (self Audit ref SOP)

The management responsible for the area being audited shall ensure that actions are taken without undue delay to eliminate detected nonconformities and their causes.  Follow-up activities shall include the verification of the actions taken and the reporting of verification results.

8.2.2.1 Self audit requirements

Biomedical Limited self quality audit program shall

- Assure compliance with quality and regulatory requirements,

- Assure that all applicable processes, systems, and provisions of the quality management system (including regulatory requirements ).  Each department, function, and shift that is impacted by the quality management system shall be periodically included as a part of the internal quality audit program.

- Report audit findings to the senior executives who are responsible for developing and implementing corrective actions and assuring timely resolution of the findings, and

- Define a formal closure system that includes;

(1)	Action items shall be tracked and closed.

(2)	Management shall be kept informed of overdue or long-term action items.

The frequency of department, function, and shift audits should be based on prioritization criteria such as compliance history, criticality of the area, and regulatory and operational environment.

8.2.2.2 	 Internal quality audit procedures shall define the responsibilities and methods for

- Planning and scheduling audits, including frequency and priority based on status and importance of the activity.

- Reporting the results of the audit.

- Obtaining approved, written action plans with target dates and persons responsible for completion, and

- Assuring timely completion of action plans.

8.2.2.3   All audit reports and summaries shall be kept confidential.  Documents shall not be retained beyond    their useful life.

8.2.2.4   Follow-up audit activities shall verify and record the implementation and effectiveness of the corrective action taken.

8.2.3   Monitoring and measurement of processes

The company shall apply suitable methods for monitoring and, where applicable, measurement of the quality management system processes.  These methods shall demonstrate the ability of the processes to achieve planned results.  When planned results are not achieved, correction and corrective action shall be taken, as appropriate, to ensure conformity of the product. The Heads of the departments will monitor the production output, quality, rejections and line efficiency on monthly basis and compare with the set targets. Should there be any variation in the set targets, corrective & preventive actions will be taken. In addition to that, during the process, if any deviation is observed a corrective and preventive action will be taken by the respective manager. Documented procedures on corrective action and preventive action has been developed to tackle the deviations over the plan.

8.2.4   Monitoring and measurement of product

The characteristics of the product shall be monitored and measured to verify that product requirements have been met. This shall be carried out at appropriate stages of the product realization processes in accordance with the planned arrangements described in documented procedures.

Evidence of conformity with the acceptance criteria shall be maintained.  Records shall indicate the person(s) authorizing release of product.

The scope of our product monitoring and measurement system include receiving inspection, job set up verification, in-process inspection, and final inspection and test.

8.2.4.1 Receiving inspection:

Incoming product is not used or processed until it has been inspected or otherwise verified as conforming to specified requirements in accordance with the control plan and/or documented procedures.

8.2.4.2. Release requirements

Purchased materials, in-process, and finished products shall be released for use only after they meet     specified requirements as verified through a documented release process.

- Batch production and control records shall be prepared for each batch of finished product produced.

- Finished product release procedures shall include a documented verification that key processes affecting product quality conform to requirements.

The quality assurance manager has overall responsibility for planning and implementing inspection and test activities needed to verify product quality requirements are met at appropriate stages of the product realization process plan.

The company’s Superintendent Pharmacist/Factory Manager shall be responsible for the final release of conforming finished product.

8.3.   Control of nonconforming product

Biomedical Limited shall ensure that product which does not conform to product requirements is identified and controlled to prevent its unintended use or distribution.  The controls and related responsibilities and authorities for dealing with nonconforming product shall be defined in a documented procedure.

The company shall deal with nonconforming product by one or more of the following ways;

- By taking action to eliminate the detected nonconformity,

- By authorizing its use, release or acceptance under concession by a relevant authority and, where applicable, by the customer, or

- By taking action to preclude its original intended use.. The Management shall ensure that product that does not meet specified requirements shall be destroyed, or sorted or reprocessed and then released. if it is demonstrated that those actions bring the product into conformance.

- By taking action appropriate to the effects, or potential effects, of the nonconformity when non-conforming product is detected after delivery or use has started. When nonconforming product is detected after distribution or use has started, the company shall take action appropriate to the effects, or potential effects, of the nonconformity. Records of the nature of nonconformities and any subsequent actions taken, including acknowledgment obtained, shall be maintained.

8.4    Improvement

8.4.1 Continual improvement

Biomedical Limited shall continually improve the effectiveness of the quality management system through the use of the quality policy, quality objectives, audit results, analysis of data, corrective and preventive actions, and management review.

The system will keep improving the quality of products through planning , assessing the performance, checking against specifications, reporting results to the decision makers and finally, deciding on changes needed to improve process.

8.5 Corrective action

The Company shall take action to eliminate the cause of nonconformities in order to prevent recurrence.

Corrective actions shall be appropriate to the effects of the nonconformities encountered.

A documented procedure shall be established to define requirements for;

- Reviewing nonconformities (including customer complaints).

- Determining the causes of  nonconformities.

- Evaluating the need for action to ensure that nonconformities do not recur.

- Determining and implementing action needed.

- Records of the results of action taken , and

f)     Reviewing corrective action taken.

8.5.2.1 Corrective action and preventive action (CAPA) system shall be established.

8.5.2.2  Regulatory actions

Regulatory action includes any action or process initiated by the company or a regulatory agency involving compliance with regulatory requirements.  Regulatory actions may include inspections, product withdrawals, recalls, warning letters, seizures, and injunctions.  Decisions concerning a regulatory action shall be made with the objective of guaranteeing the highest standards of quality and regulatory compliance.  Such decisions shall be made by, and communicated by the Superintendent Pharmacist/Factory Manager to the appropriate levels of management.

8.5.2.4  Biomedical Limited shall

- Have written procedures for managing regulatory actions such as initiating and conducting recalls, investigating medical complaints, etc.  The head of the quality assurance is responsible for administering these procedures and assigning responsibilities.

- Respond to regulatory authority compliance directives in a thorough and timely fashion,

- Prepare an analysis of the facts and document the rationale for actions resulting from recalls, complaints, and regulatory actions,

- Maintain records of all complaints and investigations at appropriate locations and ensure the records are reasonably accessible when required.

8.5.3   Preventive action

Biomedical Limited shall determine action to eliminate the causes of potential nonconformities in order to prevent their occurrence.  Preventive actions shall be appropriate to the effects of the potential problems.

A documented procedure shall be established to define requirements for

- Potential nonconformities and their causes,

- Evaluating the need for action to prevent occurrence of nonconformities,

- Determining and implementing action needed,

- Records of results of action taken , and

- Reviewing preventive action taken.

The root cause identified in the corrective action plan will be the basis of planning preventive action plan.

List of abbreviations given in annexure 1.

Abbreviation

| QMS | Quality Management System |
| --- | --- |
| cGMP | current Good Manufacturing Practice |
| SOPs | Standard Operating Procedures |
| CAPA | Corrective Actions and Preventive Actions |
| M.D | Managing Director |
| APIs | Active Pharmaceuticals Ingredients |