| Raw Material Name: Sodium Lactate | Batch No: | Pharmacopeia Ref: BP 2023/IN-HOUSE |
| --- | --- | --- |
| Manufacturer: | Supplier: | Logbook/Revision Number |
| MF. Date: | EX. Date: | Logbook page No.: |
| Sampled By: | Qty Received: | Logbook Volume: |
| Product Code: RMA005 | No. of containers: | Analysed by: |
| QC. AR. No: | Test Completed Date: | SOP Ref. No: BML-QDG-QA-105 |

| S/No. | Test | Specifications | Results |
| --- | --- | --- | --- |
| 1 | Description | A colourless or slightly yellow, viscous liquid |  |
| 2 | Identification | Shall comply |  |
| 3 | Chloride | No opalescence is produced immediately |  |
| 4 | Citrate , Oxalate and Phosphate | No turbidity is produced. |  |
| 5 | Sulphate | No turbidity is produced. |  |
| 6 | Sugar and reducing substances | No red precipitate is produced. |  |
| 7 | Limit test for heavy metals | ≤ 1ppm |  |
| 8 | PH | 5.0 – 9.0 |  |
| 9 | Assay | Not less than 50.0% by weight of Monosodium Lactate |  |
| 10 | Total Microbial Count Total yeast & moulds Pathogens | ≤10CFU/ml ≤10CFU/ml Nil. Must be Absent |  |
| 11 | Bacteria Endotoxin | ≤1.15OC (3 Rabbits sum response) ≤0.25EU/ml(LAL Test) |  |

CHECKER’s VERDICT (box option):  RELEASED   / FAILED / HOLD   / REPEAT

Remark: