MATERIAL NAME: ASCORBIC ACID

SOP Ref. No.: BML-QDG-QA-105                		       		 EFFECTIVE DATE: JAN., 2024

| S/No | TESTS REQUIRED | SPECIFICATIONS | SPECIFICATION REFERENCES |
| --- | --- | --- | --- |
|  | Description | A white or almost white, crystalline powder or colourless crystals, becoming discoloured on exposure to air and moisture. | BP 2023 |
|  | Solubility | Freely soluble in water and soluble in ethanol (96%). | BP 2023 |
|  | Melting point | Melts at about 1900C, with decomposition. | BP 2023 |
|  | Identification | A. The specific absorbance at the maximum is 545 to 585. B. Examine by infrared absorption spectrophotometry, comparing with the spectrum obtained with ascorbic acid CRS. Examine the substance prepared as discs containing 1 mg. C. pH of solution S is 2.1 – 2.6 D. A grey precipitate is formed. | BP 2023 |
|  | Appearance of Solution | Solution S is clear and not more intensely coloured than reference solution BY7 | BP 2023 |
|  | Specific optical Rotation | +20.5 to +21.5 | BP 2023 |
|  | Oxalic acid | Any opalescence in the test solution is not more intense than that in the reference solution (0.2%) | BP 2023 |
|  | Copper | Not more than 5.0 ppm of Cu. | BP 2023 |
|  | Iron | Not more than 2.0 ppm of Fe. | BP 2023 |
|  | Heavy metals | Maximum 10 ppm | BP 2023 |
|  | Sulphated Ash | Maximum 0.1% | BP 2023 |
|  | Assay | 99.0% - 100.5% | BP 2023 |
|  | Microbial Contamination; TMC Total Yeast and Mould count Pathogens | NMT 1000cfu/g NMT 100cfu/g Must be absent | BP 2023 |

STORAGE: Should be stored in a non – metallic container, protected from light.