| S/N | TEST | DESCRIPTIONS OF PROCEDURE |
| --- | --- | --- |
|  | DESCRIPTION | Determine the colour and appearance of material |
|  | SOLUBILITY | Determine its solubility in water and in ethanol (96 per cent). |
|  | IDENTIFICATION | First identification: C Second identification: A, B, D. - Determine the Melting point - Dissolve about 20 mg in 0.1 M sodium hydroxide and dilute to 100.0 mL with the same solvent. Dilute 1.0 mL of this solution to 10.0 mL with 0.1 M sodium hydroxide. Examined between 230 nm and 350 nm. - Infrared absorption spectrophotometry. Preparation Discs. Comparisontrimethoprim CRS. - Dissolve about 25 mg, heating if necessary, in 5 mL of 0.005 M sulfuric acid and add 2 mL of a 16 g/L solution of potassium permanganate R in 0.1 M sodium hydroxide. Heat to boiling and add to the hot solution 0.4 mL of formaldehyde R. Mix, add 1 mL of 0.5 M sulfuric acid, mix and heat again to boiling. Cool and filter. To the filtrate, add 2 mL of methylene chloride R and shake vigorously. |
|  | APPEARANCE OF SOULTION | Dissolve 0.5 g in 10 mL of a mixture of 1 volume of water R, 4.5 volumes of methanol R and 5 volumes of methylene chloride R. |
|  | RELATED SUBSTANCES | Liquid chromatography . Test solution Dissolve 25.0 mg of the substance to be examined in the mobile phase and dilute to 25.0 mL with the mobile phase. Reference solution (a) Dilute 1.0 mL of the test solution to 200.0 mL with the mobile phase. Reference solution (b) Dissolve the contents of a vial of trimethoprim for system suitability CRS (containing impurity E) in 1 mL of the mobile phase. Column: — size: l = 0.250 m, Ø = 4.0 mm; — stationary phase: base-deactivated octadecylsilyl silica gel for chromatography R (5 µm). Mobile phase Mix 30 volumes of methanol R and 70 volumes of a 1.4 g/L solution of sodium perchlorate R adjusted to pH 3.6 with phosphoric acid R. Flow rate 1.3 mL/min. Detection Spectrophotometer at 280 nm. Injection 20 µL loop injector. Run time 11 times the retention time of trimethoprim. Relative retention With reference to trimethoprim (retention time = about 5 min): impurity C = about 0.8; impurity E = about 0.9; impurity A = about 1.5; impurity D = about 2.0; impurity G = about 2.1; impurity B = about 2.3; impurity J = about 2.7; impurity F = about 4.0. System suitability Reference solution (b): — resolution: minimum 2.5 between the peaks due to impurity E and trimethoprim. Limits: — correction factors: for the calculation of content, multiply the peak areas of the following impurities by the corresponding correction factor: impurity B = 0.43; impurity E = 0.53; impurity J = 0.66; — any impurity: not more than 0.2 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.1 per cent); — total: not more than 0.4 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.2 per cent); — disregard limit: 0.04 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.02 per cent); disregard any peak corresponding to impurity H (relative retention = about 10.3). B. Liquid chromatography . Test solution Dissolve 25.0 mg of the substance to be examined in the mobile phase and dilute to 25.0 mL with the mobile phase. Reference solution (a) Dilute 1.0 mL of the test solution to 200.0 mL with the mobile phase. Reference solution (b) Dissolve 5.0 mg of trimethoprim CRS and 5.0 mg of trimethoprim impurity B CRS in the mobile phase and dilute to 100.0 mL with the mobile phase. Column: — size: l = 0.25 m, Ø = 4.6 mm; — stationary phase: nitrile silica gel for chromatography R (5 µm) with a specific surface area of 350 m2/g and a pore diameter of 10 nm. Mobile phase Dissolve 1.14 g of sodium hexanesulfonate R in 600 mL of a 13.6 g/L solution of potassium dihydrogen phosphate R; adjust to pH 3.1 with phosphoric acid R and mix with 400 mL of methanol R. Flow rate 0.8 mL/min. Detection Spectrophotometer at 280 nm. Injection 20 µL loop injector. Run time 6 times the retention time of trimethoprim. Relative retention With reference to trimethoprim (retention time = about 4 min): impurity H = about 1.8; impurity I = about 4.9. System suitability Reference solution (b): — resolution: minimum 2.0 between the peaks due to trimethoprim and impurity B. Limits: — correction factors: for the calculation of content, multiply the peak areas of the following impurities by the corresponding correction factor: impurity H = 0.50; impurity I = 0.28; — any impurity: not more than 0.2 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.1 per cent); — total: not more than 0.4 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.2 per cent); — disregard limit: 0.04 times the area of the principal peak in the chromatogram obtained with reference solution (a) (0.02 per cent); disregard any peak due to impurity B (relative retention = about 1.3). |
|  | IMPURITY K | Gas chromatography . Test solution Dissolve 0.500 g of the substance to be examined in 35.0 mL of citrate buffer solution pH 5.0 R, add 10.0 mL of 1,1-dimethylethyl methyl ether R, shake thoroughly and centrifuge for 10 min. Use the upper layer. Reference solution Dilute 5.0 mL of hydrochloric acid R to 50.0 mL with water R, add 12.5 mg of aniline R and shake thoroughly. Add 10.0 µL of this solution and 10.0 mL of 1,1-dimethylethyl methyl ether R to 35.0 mL of citrate buffer solution pH 5.0 R, shake thoroughly and centrifuge for 10 min. Use the upper layer. Column: — material: fused silica; — size: l = 30 m, Ø = 0.53 mm; — stationary phase: methylpolysiloxane R (film thickness 3 µm). Carrier gashelium for chromatography R. Flow rate 12 mL/min. Temperature: — column: 80 °C; — injection port: 230 °C; — detector: 270 °C. Detection Nitrogen-phosphorus detector. Injection 3 µL. Run time 15 min. System suitability Reference solution: — repeatability: maximum relative standard deviation of 5.0 per cent after 6 injections. Limit: — impurity K: not more than the area of the corresponding peak in the chromatogram obtained with the reference solution (5 ppm). |
|  | LOSS ON DRYING | Determine the Loss on drying on 1.000 g by drying in an oven at 105 °C. |
|  | SULPHATED ASH | Determine the Sulphated Ash on 1.0g of sample @ 8000C. |
|  | ASSAY | Dissolve 0.250 g in 50 mL of anhydrous acetic acid R. Titrate with 0.1 M perchloric acid, determining the end-point potentiometrically. 1 mL of 0.1 M perchloric acid is equivalent to 29.03 mg of C14H18N4O3. |
|  | MICROBIAL ENUMERATION TEST | Determination of total aerobic microbial count (TAMC) and total combined yeasts and molds count (TYMC) by the pour plate method. - Slightly open the lid of the petri plate and dispense 1 ml of diluted sample in the center of the Petri plate using a sterile calibrated pipette. - Open the lid of the prepared media. (soya bean digest agar for TAMC and Sabouraud Dextrose Agar for TYMC) - Pour about 15-20ml of the sterilized molten media at the appropriate temperature above the sample. - Close the lid of the plate then mix the sample in the media properly by gently swirling the plate. The plate is generally swirled in an “S” or “8” shape. - Allow the media to completely solidify. - Simultaneously perform the negative control by plating 1ml of diluent used instead of the sample for each medium. - Incubate the plate in an inverted position under suitable incubation conditions (For TAMC Incubate the plates of Soybean Casein Digest Agar at 30°C-35°C for 48hours and For TYMC incubate the plates of Sabouraud Dextrose Agar at 20°C - 25°C for 72hours Test for Absence of Pathogen Test for E. coli: Using same dilution - Transfer 1ml of the sample into a sterile McCartney bottle containing 9ml of sterile MacConkey broth. - Incubate the MacConkey broth bottle at 300C-350C for 24 hours. - After incubation shake the tube and transfer loop full portion of MacConkey broth on the surface of the pre incubated Eosin Methylene Blue Agar petri plate. - Incubate plates at 30°C to 35°C for 48 hours. - For negative control, proceeding same as above except without sample, streak a portion of incubated sterile MacConkey broth medium on the surface of pre incubated Eosin Methylene Blue Agar. - Observe and record the presence or absence of specified microorganisms. - Include positive and negative controls in each batch of tests. - Verify the performance of media and reagents used in the analysis. Interpretation of Results - The bacterial count should not exceed 102cfu/ml while that of the fungal count should not be more than 102cfu/ml. There should be absence of fecal coliform (E coli). - If growth occurs in the negative control plate, the test is invalid, failed negative control must be investigated - The total aerobic microbial count (TAMC) is considered to be equal to the number of CFU found using casein soya bean digest agar; if colonies of fungi are detected on this medium, they are counted as part of TAMC. - The total combined yeasts/mould count (TYMC) is considered to be equal to the number of CFU found using Sabouraud dextrose agar; if colonies of bacteria are detected on this medium, they are counted as part of TYMC - When an acceptance criterion for microbiological quality is prescribed it is interpreted as follows: 101 CFU : maximum acceptable count＝20 102 CFU: maximum acceptable count＝200, 103 CFU: maximum acceptable count＝2000. |

| - CURRENT REVISION | - SUPERSEDE | - REASON FOR REVIEW |
| --- | --- | --- |
| - 00 | - NIL | - FIRST ISSUE |
| - 01 | - 00 | - Review of the procedures - Change in header and footer format |