| BOILER USAGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name: |  |  |  |  |  |  |  |  |  |  |  | Shift: |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |
| Start Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cut-Off Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Firing Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| compressor |  |  |  |  |  |  |  |  | BOILER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash Ingersoll Rand Air Filter |  |  |  | YES |  | NO |  |  | Clean Nozzle |  |  |  |  | YES |  | NO |  |  | Top-up cooling tower water |  |  |  |  | Yes |  | No |  |
|  |  | Ingersoll 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 2 |  |  |  |  |  |  | Clean Strainer |  |  |  |  | YES |  | NO |  |  | Note: If response to any of your checks is NO, you must fix the outages |  |  |  |  |  |  |  |  |
| Compressors Oil Level |  |  |  | YES |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 1 |  |  |  |  |  |  | Top-up Fuel |  |  |  |  | YES |  | NO |  |  | Watch out: |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Iwata |  |  |  |  |  |  | Check water level |  |  |  |  | YES |  | NO |  |  |  |  |  |  |  |  |  |  |  |

| BOILER USAGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name: |  |  |  |  |  |  |  |  |  |  |  | Shift: |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |
| Start Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cut-Off Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Firing Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMPRESSOR |  |  |  |  |  |  |  |  | BOILER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash Ingersoll Rand Air Filter |  |  |  | YES |  | NO |  |  | Clean Nozzle |  |  |  |  | YES |  | NO |  |  | Check cooling tower water |  |  |  |  | Yes |  | No |  |
|  |  | Ingersoll 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 2 |  |  |  |  |  |  | Clean Strainer |  |  |  |  | YES |  | NO |  |  | Note: If response to any of your check is NO, you must fix the outage |  |  |  |  |  |  |  |  |
| Compressors Oil Level |  |  |  | YES |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 1 |  |  |  |  |  |  | Top-up Fuel |  |  |  |  | YES |  | NO |  |  | Watch out: |  |  |  |  |  |  |  |  |
|  |  | Ingersoll 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Iwata |  |  |  |  |  |  | Check water level |  |  |  |  | YES |  | NO |  |  |  |  |  |  |  |  |  |  |  |