- OBJECTIVE:

To provide the method for Batch-to-Batch cleaning of all production equipment.

- SCOPE:

To provide written guidelines for Batch-to-Batch cleaning of all production equipment.

- RESPONSIBILITIES/ACCOUNTABILITIES:

Operators, Production Supervisor, Production Pharmacist

- ABBREVIATION AND DEFINITIONS

N/A

- PROCEDURES

- Instruments associated with processing, monitoring and in process testing of products and areas shall be calibrated either by In-house procedure or by external authorized agencies as per calibration schedule

- Instrument identified for calibration from external authorized agency shall follow procedure as per the SOP

- The instrument identified for In-house calibration shall be calibrated as per the specified frequency and the frequency is derived on the basis of criticality and usage

- The instrument to be calibrated In-House shall be calibrated as per following:

- Calibration of in-house instrument shall be done as per respective SOP. Each Standard Operating Procedure for calibration of instrument shall discuss following minimum requirements

- Frequency of Calibration of any instrument shall be designed based on how critical its parameters are or its manufacturer recommendations.

- Acceptance Criteria of the calibrated instruments shall be in compliance with specifications of the respective instruments

- A specimen format shall be attachment as per respective instruments’ calibration SOP, for recording the observations

- Use of calibration standards traceable to National or International standards. These calibrations standard shall be calibrated from outside agency in co-ordination with engineering department as per the SOP.

- A label shall be attached to each instrument after calibration with status boldly showing “CALIBRATED” with regards to the SOP

- If the instrument is out of calibration limit it shall be labelled as “Calibration Failed” as in SOP and the corrective action shall be taken and the instruments shall not be used for production till the problem is corrected and instruments is re-calibrated.

- In case of internal calibration failure work order shall be raised by production to engineering department

- Calibration record shall be kept for three years from the date of calibration.

- REFERENCE AND ENCLOSURE

INHOUSE

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |