- OBJECTIVE:

To provide the method for the cleaning and operating the pass box

- SCOPE:

To provide written guidelines for opening and closing of the pass box in mixing, filling and batch coding room

- RESPONSIBILITIES/ACCOUNTABILITIES:

Mixing personnel, Filling personnel, Batch coding personnel, Production Pharmacist, Q.A Officer

- ABBREVIATION AND DEFINITIONS

- Q.A.- Quality Assurance

- PROCEDURES

Transfer of Material into the pass box

- Open the pass box while the other side is closed and transfer the material into the pass box

- Then close immediately

Collection of Material from the pass box

- Open the pass box door only when the other side of the pass box is closed

- Then, take material from the pass box and then close the pass box immediately

Caution: Ensure that the two doors of the pass box are closed at all times when not in use

- REFERENCE AND ENCLOSURE

In-House

7.0 TRAINING INVOLVEMENT

| All departmental managers | All sectional heads |
| --- | --- |
| QA Doc. Unit staff | All staff |

8.0 DISTRIBUTION AND CONTROL:

| MASTER COPIES | QUALITY ASSURANCE |
| --- | --- |
| CONTROLLED COPIES | ALL DEPARTMENT |

9.0 CHANGE HISTORY

| CURRENT REVISION | SUPERSEDE | REASON FOR REVIEW |
| --- | --- | --- |
| 00 | Nil | First issue |
| 06 | 05 | - Change in sop format. - Inclusion of traceability of enclosures to parent SOP |